## Summary
SUMMARY
DATE |  | PROJECT NAME | PROJECT LOCATION
2023-08-15 |  | P.S. 219, BROOKLYN FY21 RESO A SCIENCE LAB UPGRADE | 1060 CLARKSON AVENUE BROOKLYN, NEW YORK 11212.
NET AREA: 2315 SF
LINE NO. | CSI DIV. | DESCRIPTION | MATERIAL COST | LABOR COST | TOTAL COST
1 | DIV. 01 | GENERAL REQUIREMENTS | 0 | 64215 | 64215
2 | DIV. 02 | EXISTING CONDITIONS | 6225.498 | 143557.9941 | 149783.4921
3 | DIV. 03 | CONCRETE | 6119.3015 | 6299.3513 | 12418.6527
4 | DIV. 05 | METALS | 1173.3002 | 863.4918 | 2036.792
5 | DIV. 06 | WOOD, PLASTICS AND COMPOSITES | 7151.9333 | 2107.9113 | 9259.8446
6 | DIV. 07 | THERMAL AND MOISTURE PROTECTION | 3832.6109 | 11567.2594 | 15399.8703
7 | DIV. 08 | OPENINGS | 20499.6638 | 11430.5402 | 31930.204
8 | DIV. 09 | FINISHES | 30180.2637 | 46400.2655 | 76580.5292
9 | DIV. 10 | SPECIALTIES | 21890.1841 | 8000.0564 | 29890.2405
10 | DIV. 11 | EQUIPMENT | 188152.3319 | 13515.5736 | 201667.9055
11 | DIV. 22 | PLUMBING | 40121.6774 | 43756.8234 | 83878.5008
12 | DIV. 23 | HEATING, VENTILATION AND AIR CONDITIONING (HVAC) | 14852.7188 | 31141.5388 | 45994.2576
13 | DIV. 26 | ELECTRICAL | 80984.9614 | 56964.9223 | 137949.8837
|  | TOTAL PROJECT COST |  |  | 861005.1731
PROVISIONS
14 | 0 | PROVISIONS | 8235.3682 | 14908.9892 | 23144.3574

## Detailed Estimate Sheet
| CONSTRUCTION COST ESTIMATE BREAKDOWN | [16 empty] | 1.1 | 1.8
| CONTRACTOR | [6 empty] | ADDRESS
[8 empty] | TOTAL MATERIAL COST | [8 empty] | 297535.7346
[8 empty] | TOTAL LABOR COST | [8 empty] | 308213.5445
[8 empty] | SUBTOTAL | [8 empty] | 605749.2792
[8 empty] | SALES TAX | [7 empty] | 8.88% | 26421.1732
[8 empty] | LABOR BURDEN | [7 empty] | 10% | 30821.3545
[8 empty] | OVERHEAD & PROFIT | [7 empty] | 25% | 151437.3198
[8 empty] | BONDING | [7 empty] | 2% | 16288.5825
[8 empty] | CONTINGENCY / WASTAGE | [7 empty] | 5% | 30287.464
[5 empty] | Est.2025 |  |  | PROPOSED PROJECT AMOUNT | [8 empty] | 861005.1731
[8 empty] | TOTAL MANHOURS | [8 empty] | 1991.6067
| DATE |  | PROJECT NAME | SCOPE OF WORK |  |  |  |  | PROJECT LOCATION
| 2023-08-15 |  | P.S. 219, BROOKLYN FY21 RESO A SCIENCE LAB UPGRADE | COMPLETE SCOPE OF WORK. |  |  |  |  | 1060 CLARKSON AVENUE BROOKLYN, NEW YORK 11212.
NET AREA: 2315 SF
| LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  |  | LABOR | [6 empty] | LINE TOTAL | TRADE TOTAL W/ S.TAX, O&P
[6 empty] | UNIT PRICE | UNIT PRICE | TOTAL COST | UNIT LABOR HOUR | LABOR HOURS | CREW | LABOR RATE | LABOR RATE | UNIT PRICE | TOTAL COST
|  | DIV. 01 | GENERAL REQUIREMENTS | SUBTOTAL MATERIAL |  |  | 0 | 0 |  | SUBTOTAL LABOR |  |  |  | 45000 | 0 | 45000 | 64215
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 1 |  | PERMITS, SITE SUPERVISION, FINAL CLEANUP & DUMPSTER | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 45000 | 45000 | 45000
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 02 | EXISTING CONDITIONS | SUBTOTAL MATERIAL |  |  | 4397.855 | 0 |  | SUBTOTAL LABOR |  |  |  | 100601.2572 | 0 | 104999.1122 | 149783.4921
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | DEMOLITION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 2 | A061, A803 | REMOVE EXISTING COUNTERTOP W/ ASSOCIATED BACKSPLASH | SF | 10.9 |  | 0 | 0 | 0.054 | 0.5886 | 1 CLAB | 42.1 | 75.78 | 4.0921 | 44.6041 | 44.6041
| 3 |  | REMOVE EXISTING FLOORING SYSTEM DOWN TO THE STRUCTURAL CONCRETE DECK INCLUDING: FLOORING W/ ASSOCIATED WALL BASE, 2 LAYERS OF PLYWOOD SUBFLOORING, 2 LAYERS LIGHTWEIGHT CONCRETE FILL (COORDINATE W/ ACM CONTRACTOR) | SF | 1667.14 |  | 0 | 0 | 0.052 | 86.6913 | 1 CLAB | 42.1 | 75.78 | 3.9406 | 6569.4652 | 6569.4652
| 4 |  | REMOVE EXISTING WALL | SF | 89.25 |  | 0 | 0 | 0.052 | 4.641 | 1 CLAB | 42.1 | 75.78 | 3.9406 | 351.695 | 351.695
| 5 |  | REMOVE & DISCARD EXISTING WARDROBE W/ ASSOCIATED ASSEMBLY (1 LOC) | LF | 21.69 |  | 0 | 0 | 0.135 | 2.9282 | 1 CLAB | 42.1 | 75.78 | 10.2303 | 221.8952 | 221.8952
| 6 |  | REMOVE EXISTING SHELVING | LF | 6.11 |  | 0 | 0 | 0.095 | 0.58045 | 1 CLAB | 42.1 | 75.78 | 7.1991 | 43.9865 | 43.9865
| 7 |  | REMOVE EXISTING UPPER/BASE CABINETS | LF | 15.98 |  | 0 | 0 | 0.265 | 4.2347 | 1 CLAB | 42.1 | 75.78 | 20.0817 | 320.9056 | 320.9056
| 8 |  | REMOVE & DISCARD SINGLE PANEL TRANSOM FRAMES & GLASS | EA | 1 |  | 0 | 0 | 2.275 | 2.275 | 1 CLAB | 42.1 | 75.78 | 172.3995 | 172.3995 | 172.3995
| 9 |  | REMOVE & DISCARD DOUBLE PANEL TRANSOM FRAMES & GLASS | EA | 3 |  | 0 | 0 | 2.5 | 7.5 | 1 CLAB | 42.1 | 75.78 | 189.45 | 568.35 | 568.35
| 10 |  | REMOVE & DISCARD EXISTING DOORS W/ ASSOCIATED ASSEMBLY NOTE: PREPARE OPENING FOR INFILL | EA | 4 |  | 0 | 0 | 2.275 | 9.1 | 1 CLAB | 42.1 | 75.78 | 172.3995 | 689.598 | 689.598
| 11 |  | REMOVE & DISCARD EXISTING SINK W/ FAUCET | EA | 1 |  | 0 | 0 | 3.55 | 3.55 | 1 CLAB | 42.1 | 75.78 | 269.019 | 269.019 | 269.019
| 12 |  | REMOVE EXISTING SMARTBOARD W/ ASSOCIATED WALL MOUNTED SUPPORTS NOTE: TURN OVER TO THE SCHOOL | LOC | 1 |  | 0 | 0 | 3.125 | 3.125 | 1 CLAB | 42.1 | 75.78 | 236.8125 | 236.8125 | 236.8125
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ELECTRICAL DEMO |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 13 | ED100,PD100 | PROTECT EXISTING CALL IN SYSTEM | EA | 2 |  | 0 | 0 | 0.325 | 0.65 | 1 CLAB | 42.1 | 75.78 | 24.6285 | 49.257 | 49.257
| 14 |  | PROTECT EXISTING FIRE ALARM STROBE | EA | 2 |  | 0 | 0 | 0.45 | 0.9 | 1 CLAB | 42.1 | 75.78 | 34.101 | 68.202 | 68.202
| 15 |  | PROTECT EXISTING MOTION SENSOR | EA | 1 |  | 0 | 0 | 0.30375 | 0.30375 | 1 CLAB | 42.1 | 75.78 | 23.0182 | 23.0182 | 23.0182
| 16 |  | PROTECT EXISTING RECEPTACLE FOR AC UNIT | EA | 3 |  | 0 | 0 | 0.21375 | 0.64125 | 1 CLAB | 42.1 | 75.78 | 16.198 | 48.5939 | 48.5939
| 17 |  | PROTECT EXISTING SWITCH FOR WINDOW | EA | 3 |  | 0 | 0 | 0.171 | 0.513 | 1 CLAB | 42.1 | 75.78 | 12.9584 | 38.8751 | 38.8751
| 18 |  | PROTECT EXISTING WALL MOUNTED PUBLIC ADDRESS SPEAKER | EA | 1 |  | 0 | 0 | 0.45 | 0.45 | 1 CLAB | 42.1 | 75.78 | 34.101 | 34.101 | 34.101
| 19 |  | PROTECT EXISTING WIRELESS ACCESS POINT | EA | 3 |  | 0 | 0 | 0.19125 | 0.57375 | 1 CLAB | 42.1 | 75.78 | 14.4929 | 43.4788 | 43.4788
| 20 |  | RELOCATED PHONE BOX | EA | 1 |  | 0 | 0 | 5.05 | 5.05 | 2 CARP | 53.15 | 95.67 | 483.1335 | 483.1335 | 483.1335
| 21 |  | REMOVE AND EXISTING LIGHT FIXTURE | EA | 42 |  | 0 | 0 | 0.42 | 17.64 | 1 CLAB | 42.1 | 75.78 | 31.8276 | 1336.7592 | 1336.7592
| 22 |  | REMOVE EXISTING DATA OUTLET | EA | 10 |  | 0 | 0 | 0.38 | 3.8 | 1 CLAB | 42.1 | 75.78 | 28.7964 | 287.964 | 287.964
| 23 |  | REMOVE EXISTING FOUR INPUT DATA DROP | EA | 2 |  | 0 | 0 | 0.385 | 0.77 | 1 CLAB | 42.1 | 75.78 | 29.1753 | 58.3506 | 58.3506
| 24 |  | REMOVE EXISTING JUCTION BOX | EA | 1 |  | 0 | 0 | 0.625 | 0.625 | 1 CLAB | 42.1 | 75.78 | 47.3625 | 47.3625 | 47.3625
| 25 |  | REMOVE EXISTING OCCUPANCY SENSOR | EA | 2 |  | 0 | 0 | 0.675 | 1.35 | 1 CLAB | 42.1 | 75.78 | 51.1515 | 102.303 | 102.303
| 26 |  | REMOVE EXISTING PHONE BOX | EA | 2 |  | 0 | 0 | 1.85 | 3.7 | 2 CLAB | 42.1 | 75.78 | 140.193 | 280.386 | 280.386
| 27 |  | REMOVE EXISTING RECEPTACLE | EA | 6 |  | 0 | 0 | 0.38 | 2.28 | 1 CLAB | 42.1 | 75.78 | 28.7964 | 172.7784 | 172.7784
| 28 |  | REMOVE EXISTING RECESSED MOUNTED PANEL | EA | 4 |  | 0 | 0 | 7.85 | 31.4 | 1 CLAB | 42.1 | 75.78 | 594.873 | 2379.492 | 2379.492
| 29 |  | REMOVE EXISTING SMARTBOARD | EA | 1 |  | 0 | 0 | 1.48 | 1.48 | 1 CLAB | 42.1 | 75.78 | 112.1544 | 112.1544 | 112.1544
| 30 |  | REMOVE EXISTING SWITCH | EA | 4 |  | 0 | 0 | 0.38 | 1.52 | 1 CLAB | 42.1 | 75.78 | 28.7964 | 115.1856 | 115.1856
| 31 |  | REMOVE EXISTING TWIST LOCK RECETPACLE | EA | 2 |  | 0 | 0 | 0.38 | 0.76 | 1 CLAB | 42.1 | 75.78 | 28.7964 | 57.5928 | 57.5928
| 32 |  | REMOVE EXISTING WALL MOUNTED PUBLIC ADDRESS SPEAKER | EA | 1 |  | 0 | 0 | 1 | 1 | 1 CLAB | 42.1 | 75.78 | 75.78 | 75.78 | 75.78
| 33 |  | REMOVE EXISTING WIRING ALLOWANCE AREA: 3518 SF | LS | 1 |  | 0 | 0 | 32.25 | 32.25 | 1 CLAB | 42.1 | 75.78 | 2443.905 | 2443.905 | 2443.905
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | PLUMBING DEMO |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 34 |  | REMOVE EXISTING SINK W/ ASSOCIATE PIPING | EA | 1 |  | 0 | 0 | 3.55 | 3.55 | 1 CLAB | 42.1 | 75.78 | 269.019 | 269.019 | 269.019
| 35 |  | REMOVE DRINKING FOUNTAINS | EA | 11 |  | 0 | 0 | 2.765 | 30.415 | 1 CLAB | 42.1 | 75.78 | 209.5317 | 2304.8487 | 2304.8487
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ASBESTOS ABATEMENT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 36 | H101-H106 | SUSPECTED ACM: PIPE/FITTING INSULATION LAB RESULTS: ASSUMED ACM NOTES: - WILL BE IMPACTED BY THE PLUMBING CONNECTION FORM ROOM 304 - ASSUMED ACM - TIE IN LOCATION TO BE DETERMINED BY PLUMBER | LF | 8 | 1.45 | 1.595 | 12.76 | 0.038 | 0.304 | A-9 | 58.71 | 105.678 | 4.0158 | 32.1261 | 44.8861
| 37 |  | SUSPECTED ACM: BEIGE TRANSITE BOARD WITHIN PANEL 3A, 3B, 3VB LAB RESULTS: ACM NOTES: - HALLWAY ADJECENT ROOMS 305, 313 | SF | 3 | 2.25 | 2.475 | 7.425 | 0.058 | 0.174 | A-9 | 58.71 | 105.678 | 6.1293 | 18.388 | 25.813
| 38 |  | SUSPECTED ACM: PIPE INSULATION WITHIN CHASE LAB RESULTS: ASSUMED ACM NOTES: - ASSUMED ACM - TIE IN LOCATION TO BE DETERMINED BY PLUMBER@ HALLWAY ADJACENT IDF 359 & STORAGE 151 | LF | 8 | 1.45 | 1.595 | 12.76 | 0.041 | 0.328 | A-9 | 58.71 | 105.678 | 4.3328 | 34.6624 | 47.4224
| 39 |  | SUSPECTED ACM: 12''X12'' LIGHT BROWN/WHITE FLOOR TILES LAB RESULTS: ACM . SUSPECTED ACM: SOFT FLOOR CONCRETE/ LIGHT WEIGHT CONCRETE UNDER WOOD SUBFLOOR LAB RESULTS: ACM . SUSPECTED ACM: MASTIC ASSOCIATED W/ 12''X12'' LIGHT BROWN/WHITE LINES FLOOR TILES LAB RESULTS: ACM CONTAMINATED . SUSPECTED ACM: FELT UNDER WOODEN SUBSTRATE - 1ST & 2ND LAYER LAB RESULTS: ACM CONTAMINATED . NOTES: - FLOORING TO BE REMOVED DOWN TO STRUCTURAL CONCRETE DECK/SLAB. | SF | 669 | 2.25 | 2.475 | 1655.775 | 0.042 | 28.098 | A-9 | 58.71 | 105.678 | 4.4385 | 2969.3404 | 4625.1154
| 40 |  | SUSPECTED ACM: ELECTRICAL WIRE INSULATION ASSOCIATED W/ LIGHT FIXTURES - BEIGE & BROWN - FEEDER (STEM) LAB RESULTS: ACM NOTES: - 3 STEMS FOR THE 3 ROWS OF LIGHT PER ROOM | LF | 60 | 1.45 | 1.595 | 95.7 | 0.032 | 1.92 | A-9 | 58.71 | 105.678 | 3.3817 | 202.9018 | 298.6018
| 41 |  | SUSPECTED ACM: BEIGE TRANSITE BOARD WITHIN PANEL 4 & 4VB LAB RESULTS: ACM NOTES: - HALLWAY ADJACENT ROOM 413 | SF | 2 | 2.25 | 2.475 | 4.95 | 0.058 | 0.116 | A-9 | 58.71 | 105.678 | 6.1293 | 12.2586 | 17.2086
| 42 |  | SUSPECTED ACM: CONCEALED PIPE INSULATION WITHIN CHASE LAB RESULTS: ASSUMED ACM NOTES: - ASSUMED ACM - TIE IN LOCATION TO BE DETERMINED BY PLUMBER@ HALLWAY ADJACENT IDF 459 & STORAGE 451. | LF | 8 | 1.45 | 1.595 | 12.76 | 0.041 | 0.328 | A-9 | 58.71 | 105.678 | 4.3328 | 34.6624 | 47.4224
| 43 |  | SUSPECTED ACM: DOOR CORE INSULATION LAB RESULTS: ASSUMED ACM NOTES: - DOOR SCHEDULED FOR REMOVAL - TESTING WOOD COMPROMISE DOOR/FIRE INTEGRITY - REPLACEMENT DOORS ARE NOT ON SITE | SF | 21 | 2.25 | 2.475 | 51.975 | 0.0325 | 0.6825 | A-9 | 58.71 | 105.678 | 3.4345 | 72.1252 | 124.1002
| 44 |  | SUSPECTED ACM: PUTTY ASSOCIATED W/ SINK DRAIN LAB RESULTS: ACM | SF | 1 | 2.25 | 2.475 | 2.475 | 0.042 | 0.042 | A-9 | 58.71 | 105.678 | 4.4385 | 4.4385 | 6.9135
| 45 |  | SUSPECTED ACM: SOFT FLOOR CONCRETE/ LIGHT WEIGHT CONCRETE UNDER WOOD SUBFLOOR LAB RESULTS: ACM . SUSPECTED ACM: 12''X12'' - VARIOUS COLORS AND ALL ASSOCIATED MASTIC INCLUDING DOOR SADDLE LAB RESULTS: ACM/ ACM CONTAMINATED . SUSPECTED ACM: BLACK BASEBOARD AND ASSOCIATED MASTIC LAB RESULTS: ACM/ ACM CONTAMINATED . SUSPECTED ACM: VAPOR BARRIER UNDER WOODEN SUBSTRATE LAB RESULTS: ACM/ ACM CONTAMINATED NOTES: - FLOORNG TO BE REMOVED DOWN TO STRUCTURAL CONCRETE DECK/ SLAB | SF | 997 | 2.25 | 2.475 | 2467.575 | 0.064 | 63.808 | A-9 | 58.71 | 105.678 | 6.7634 | 6743.1018 | 9210.6768
| 46 |  | SUSPECTED ACM: ELECTRICAL WIRE INSULATION ASSOCIATED W/ LIGHT FIXTURES - BEIGE & BROWN - FEEDER (STEM) LAB RESULTS: ACM NOTES: - 3 STEMS FOR THE 3 ROWS OF LIGHT PER ROOM | LF | 40 | 1.45 | 1.595 | 63.8 | 0.032 | 1.28 | A-9 | 58.71 | 105.678 | 3.3817 | 135.2678 | 199.0678
| 47 |  | SUSPECTED ACM: CINDER FILL/ CORE MATERIAL WITHIN ROOF DECK LAB RESULTS: ASSUMED ACM NOTES: - ADDITIONAL CATCH TENT REQUIRED WITHIN 4TH FLOOR ROOM 413 - 2 THROUGH ROOF DECK CUTS REQUIRED APPROX FOR DUCTWORKS. | SF | 4 | 2.25 | 2.475 | 9.9 | 0.049 | 0.196 | A-9 | 58.71 | 105.678 | 5.1782 | 20.7129 | 30.6129
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ALLOWANCES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 48 | T001A | ALLOWANCE PROVIDED FOR ANY WORK ABOVE AND BEYOND WHAT IS SHOWN IN THE DRAWINGS TO TIE IN NEW PLUMBING FIXTURES & PIPING ALLOWANCE: $10,000. | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 10000 | 10000 | 10000
| 49 |  | ALLOWANCE PROVIDED FOR RELOCATION OF ANY CONDUIT, LOW VOLTAGE DATA AND CABLING EQUIPMENT, SWITCHES ETC. TO RELOCATE STORAGE ROOM DOORS ADJACENT TO NEW DRINKING FOUNTAIN FIXTURES ALLOWANCE: $60,000 | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 60000 | 60000 | 60000
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 03 | CONCRETE | SUBTOTAL MATERIAL |  |  | 4322.835 | 0 |  | SUBTOTAL LABOR |  |  |  | 4414.4017 | 0 | 8737.2367 | 12418.6527
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CONCRETE REPAIRS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 50 |  | REPAIR CONCRETE AT EXISTING RAMP AREA (1 LOC) | SF | 18 | 11.2 | 12.32 | 221.76 | 0.105 | 1.89 | C14H | 52.21 | 93.978 | 9.8677 | 177.6184 | 399.3784
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | TOPPING SLAB |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 51 | A101 | 4" LIGHTWEIGHT CONCRETE SLAB W/ W6 X 6 X 2.1 WELDED WIRE MESH | SF | 1657 | 2.25 | 2.475 | 4101.075 | 0.03 | 49.71 | C14G | 47.35 | 85.23 | 2.5569 | 4236.7833 | 8337.8583
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 05 | METALS | SUBTOTAL MATERIAL |  |  | 828.85 | 0 |  | SUBTOTAL LABOR |  |  |  | 605.1099 | 0 | 1433.9599 | 2036.792
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CANE RAIL |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 52 | A803 | NEW CANE RAIL W/ ASSOCIATED ASSEMBLY | LF | 3.3 | 45.25 | 49.775 | 164.2575 | 0.265 | 0.8745 | E-4 | 62.74 | 112.932 | 29.927 | 98.759 | 263.0165
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | BEAM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 53 | S101 | W8X18 BEAM W/ 6''X4-1/2''X3/8'' STEEL PLATES NOTES: - REMOVE & RESTORE CONCRETE ENCASEMENT AS REQ. FOR BEAM INSTALLATION - PROVIDE 2 HOUR SPRAY ON FIREPROOFING, IF REQUIRED | LF | 14.3 | 42.25 | 46.475 | 664.5925 | 0.225 | 3.2175 | E-2 | 87.43 | 157.374 | 35.4092 | 506.3508 | 1170.9433
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 06 | WOOD, PLASTICS AND COMPOSITES | SUBTOTAL MATERIAL |  |  | 5052.3132 | 0 |  | SUBTOTAL LABOR |  |  |  | 1477.1628 | 0 | 6529.476 | 9259.8446
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | INTERIOR TRIM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 54 | A911 | INTERIOR TRIM AT DOORS | LF | 221.36 | 2.95 | 3.245 | 718.3132 | 0.031985 | 7.0802 | 1 CARP | 53.15 | 95.67 | 3.06 | 677.3616 | 1395.6748
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | FINISH CARPENTRY & MILLWORK |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 55 | FF301-302 | ADA COMPLAINT COUNTER/ COMPUTER STATION SIZE: 4' x 2.5' | EA | 2 | 1800 | 1980 | 3960 | 3.65 | 7.3 | 1 CARP | 53.15 | 95.67 | 349.1955 | 698.391 | 4658.391
| 56 |  | WALL HUNG SHELVES SIZE: 2' x 1' x 2' | EA | 4 | 85 | 93.5 | 374 | 0.265 | 1.06 | 1 CARP | 53.15 | 95.67 | 25.3526 | 101.4102 | 475.4102
| 57 |  | NOTE: ABOVE ITEMS ARE TO BE FURNISHED AND INSTALLED BY G.C. INCLUDE THE SUM OF $37,555 FOR ALL EQUIPMENT IN CLASSROOMS 304 & 413. | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 07 | THERMAL AND MOISTURE PROTECTION | SUBTOTAL MATERIAL |  |  | 2707.4569 | 0 |  | SUBTOTAL LABOR |  |  |  | 8105.9982 | 0 | 10813.455 | 15399.8703
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | SEALANT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 58 | A101 | CONTINUOUS SEALANT AT WALLS | LF | 120.58 | 1.3 | 1.43 | 172.4294 | 0.04 | 4.8232 | 1 BRIC | 52.05 | 93.69 | 3.7476 | 451.8856 | 624.315
| 59 | A911 | CONTINUOUS SEALANT AT DOORS | LF | 241 | 0.43 | 0.473 | 113.993 | 0.029 | 6.989 | 1 BRIC | 52.05 | 93.69 | 2.717 | 654.7994 | 768.7924
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | EXTERIOR TRIM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 60 | A911 | EXTERIOR TRIM AT DOORS | LF | 20 | 4.1 | 4.51 | 90.2 | 0.031985 | 0.6397 | 1 CARP | 53.15 | 95.67 | 3.06 | 61.2 | 151.4
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | INSULATION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 61 | A101 | 3-1/2" FIBERGLASS SOUND ATTENUATION BLANKET INSULATION AT WALLS | SF | 201.5426 | 1.16 | 1.276 | 257.1684 | 0.007 | 1.4108 | 1 CARP | 53.15 | 95.67 | 0.66969 | 134.9711 | 392.1394
| 62 |  | 1" HIGH DENSITY FOAM INSULATION UNDER SLAB | SF | 1657 | 0.58 | 0.638 | 1057.166 | 0.012 | 19.884 | 1 CARP | 53.15 | 95.67 | 1.148 | 1902.3023 | 2959.4683
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ROOFING ASSEMBLY |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 63 | A102 | ROOF PATCHING TO MATCH EXISTING, VIF - THREE PLY BUILT-UP PLY SHEET W/ SBS MODIFIED BITUMEN CAP - MULTI-LAYER INSULATION 2-PLY FELT VAPOR BARRIER | SF | 252.2 | 1.32 | 1.452 | 366.1944 | 0.025 | 6.305 | G-5 | 46.78 | 84.204 | 2.1051 | 530.9062 | 897.1006
| 64 |  | REMOVE LOOSE, DETERIORATED AND DEFECTIVE PORTION OF FILL/SCREED, PREPARE AREA AND REPAIR USING STRUCTURAL REPAIR MORTAR | SF | 252.2 | 1.56 | 1.716 | 432.7752 | 0.165 | 41.613 | J-1 | 49.05 | 88.29 | 14.5678 | 3674.0118 | 4106.787
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CRICKET |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 65 |  | ROOF CRICKET W/ ASSOCIATED ASSEMBLY | SF | 52.5 | 1.85 | 2.035 | 106.8375 | 0.029 | 1.5225 | 1 SHEE | 62.3 | 112.14 | 3.2521 | 170.7332 | 277.5707
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | FLASHING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 66 |  | METAL FLASHING | LF | 69.4 | 1.45 | 1.595 | 110.693 | 0.091 | 6.3154 | 1 ROFC | 46.2 | 83.16 | 7.5676 | 525.1887 | 635.8817
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 08 | OPENINGS | SUBTOTAL MATERIAL |  |  | 14481.5 | 0 |  | SUBTOTAL LABOR |  |  |  | 8010.1893 | 0 | 22491.6893 | 31930.204
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | DOORS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | EXTERIOR DOOR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 67 | A911 | 6'-0" W x 7'-0" HT DOUBLE METAL DOOR W/ EXISTING FRAME | EA | 1 | 4950 | 5445 | 5445 | 16.368 | 16.368 | 2 CARP | 53.15 | 95.67 | 1565.9266 | 1565.9266 | 7010.9266
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | INTERIOR DOORS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 68 |  | FV1S: 3'-0" W x 7'-0" HT WOOD DOOR W/ TYPE SF HOLLOW METAL FRAME FIRE RATED GLASS IS USED, VISION PANEL TO BE 100SQ.IN MAXIMUM | EA | 2 | 885 | 973.5 | 1947 | 7.244 | 14.488 | 2 CARP | 53.15 | 95.67 | 693.0335 | 1386.067 | 3333.067
| 69 |  | REMOVE AND REINSTALL 2'-8" W x 7'-0" HT WOOD DOOR W/ TYPE SF HOLLOW METAL FRAME | EA | 4 |  | 0 | 0 | 8.0499 | 32.1996 | 2 CARP | 53.15 | 95.67 | 770.1335 | 3080.5338 | 3080.5338
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | HARDWARE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 70 | A911 | ALLOWANCE PROVIDED FOR EXTERIOR DOORS HARDWARE | EA | 1 | 410 | 451 | 451 | 1.98 | 1.98 | 2 CARP | 53.15 | 95.67 | 189.4266 | 189.4266 | 640.4266
| 71 |  | HARDWARE SET 17A 1. BUTTS 1-1/2 PAIR 4-1/2"X4-1/2" MCKINNEY TA2772 X BACK PLATE 2. LOCKSET 1 SARGENT V01 (INSIDE INDICATOR)-8238 (ANSI F32 FUNCTION) LNB (LEVER TRIM) 3. SURFACE MOUNTED DOOR CLOSER 1 LCN 1461 DEL 4. OVERHEAD STOP WITHOUT HOLDER 1 GLYNN JOHNSON 81 SERIES 5. SILENCERS 3 IVES SR64 6. KICK PLATE 1 IVES 8400- BHMA 630-B4E | EA | 6 | 850 | 935 | 5610 | 2.325 | 13.95 | 2 CARP | 53.15 | 95.67 | 222.4328 | 1334.5965 | 6944.5965
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ATTIC ACCESS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 72 | M101 | 2'-0" L x 2'-0" W ATTIC ACCESS W/ 1-1/2" CONTINUOUS CHANNEL SUPPORT @ PERIMETER OF ACCESS DOOR FRAMEANDCLIP ANGLES AT ALL CORNERS. 16GA FRAME IS USED FASTENED W/ 3/16" STEEL FLAT BARS @ 4'-0" O.C. SLOTTED FOR 3/8" DIA BOLT AND CONTINUOUS CONCEALED HINGE. | EA | 1 | 935 | 1028.5 | 1028.5 | 4.828 | 4.828 | G-3 | 52.2 | 93.96 | 453.6389 | 453.6389 | 1482.1389
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 09 | FINISHES | SUBTOTAL MATERIAL |  |  | 21320.1296 | 0 |  | SUBTOTAL LABOR |  |  |  | 32515.9534 | 0 | 53836.0829 | 76580.5292
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | FLOORING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 73 | A101 | FAE: FLUID-APPLIED EPOXY FLOORING | SF | 1656.73 | 3.54 | 3.894 | 6451.3066 | 0.107 | 177.2701 | C6 | 44.86 | 80.748 | 8.64 | 14314.2068 | 20765.5135
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | BASE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 74 | A101 | FAE: FLUID-APPLIED EPOXY BASE | LF | 234.42 | 2.86 | 3.146 | 737.4853 | 0.037172 | 8.7138 | 1 TILF | 49.5 | 89.1 | 3.312 | 776.399 | 1513.8844
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CORNER BEADS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 75 | A801 | GALVANIZED CORNER BEADS | LF | 65 | 2.95 | 3.245 | 210.925 | 0.031985 | 2.079 | 1 CARP | 53.15 | 95.67 | 3.06 | 198.9 | 409.825
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | GYPSUM BOARD |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | WALLS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 76 | A101 | 5/8" THK. GYPSUM BOARD AT WALLS | SF | 215.4626 | 0.99 | 1.089 | 234.6388 | 0.037 | 7.9721 | 2 CARP | 53.15 | 95.67 | 3.5398 | 762.6924 | 997.3311
| 77 |  | NO. OF SHEETS | EA | 6.7332 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 78 |  | ADHESIVE | TUBES | 6.6793 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 79 |  | TAPING | ROLLS | 0.1616 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 80 |  | DRYWALL SCREWS | LBS | 1.1543 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 81 |  | MUD PLASTER | LBS | 114.1952 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 82 |  | 2 LAYER, 5/8" THK. "TYPE X" GYPSUM BOARD AT WALLS | SF | 46.5 | 1.95 | 2.145 | 99.7425 | 0.065 | 3.0225 | 2 CARP | 53.15 | 95.67 | 6.2186 | 289.1626 | 388.9051
| 83 |  | NO. OF SHEETS | EA | 2.9062 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 84 |  | ADHESIVE | TUBES | 2.883 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 85 |  | TAPING | ROLLS | 0.06975 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 86 |  | DRYWALL SCREWS | LBS | 0.49821 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 87 |  | MUD PLASTER | LBS | 24.645 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 88 |  | 1" THK. "TYPE X" GYPSUM BOARD AT WALLS | SF | 46.5 | 1.83 | 2.013 | 93.6045 | 0.04 | 1.86 | 2 CARP | 53.15 | 95.67 | 3.8268 | 177.9462 | 271.5507
| 89 |  | NO. OF SHEETS | EA | 2.9062 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 90 |  | ADHESIVE | TUBES | 2.883 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 91 |  | TAPING | ROLLS | 0.06975 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 92 |  | DRYWALL SCREWS | LBS | 0.49821 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 93 |  | MUD PLASTER | LBS | 24.645 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 94 |  | 5/8" THK. ABUSE RESISTANT GYPSUM BOARD AT WALLS | SF | 142.67 | 1.11 | 1.221 | 174.2001 | 0.037 | 5.2788 | 2 CARP | 53.15 | 95.67 | 3.5398 | 505.0218 | 679.2219
| 95 |  | NO. OF SHEETS | EA | 4.4584 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 96 |  | ADHESIVE | TUBES | 4.4228 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 97 |  | TAPING | ROLLS | 0.107 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 98 |  | DRYWALL SCREWS | LBS | 0.7643 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 99 |  | MUD PLASTER | LBS | 75.6151 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CEILING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 100 | A801 | 2 LAYERS, OF 1/2" GYPSUM BOARD CEILING W/ 3-5/8" 25 GA. METAL STUD FRAMING @ 16" O.C. | SF | 217.31 | 2.84 | 3.124 | 678.8764 | 0.114 | 24.7733 | 2 CARP | 53.15 | 95.67 | 10.9064 | 2370.0654 | 3048.9419
| 101 |  | NO. OF SHEETS | EA | 6.7909 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 102 |  | ADHESIVE | TUBES | 6.7366 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 103 |  | TAPING | ROLLS | 0.16298 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 104 |  | DRYWALL SCREWS | LBS | 1.1642 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 105 |  | MUD PLASTER | LBS | 115.1743 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ACOUSTICAL CEILING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 106 | A801 | 2 X 2 ACOUSTICAL CEILING - 1" X 1" CORNER TRIM - SEALANT BED - 1-1/2" STEEL CHANNEL - DROP CLIPS @ 4'-0" CLIPS MAX - HOLD DOWN CLIP W/ CROSS "T" EXPOSED GRID - 1" X 1/2" STEEL FLAT BARS @ 4'-0" MAX SLOTTED FOR 3/8" DIA BOLTS - 3" X 3" X 3/16" STEEL ANGLE @ 4'-0" O.C. MAX. SLOTTED TO RECEIVE 3/8" DIA BOLT ATTACH TO RIBS OF METAL DECK W/ EXPANSION BOLTS OR POWDER ACTUATED FASTENER W/ A SAFE WORKING LOAD OF 300 LBS - 3/8" DIA BOLTS W/ NUT & LOCK WASHER | SF | 2321.48 | 4.67 | 5.137 | 11925.4428 | 0.042 | 97.5022 | 1 CARP | 53.15 | 95.67 | 4.0181 | 9328.0316 | 21253.4744
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | PAINT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 107 | A101, A801 | ONE COAT OF PRIMER WITH TWO COATS OF PAINT AT WALLS | SF | 916 | 0.23 | 0.253 | 231.748 | 0.024 | 21.984 | 1 PORD | 44.4 | 79.92 | 1.9181 | 1756.9613 | 1988.7093
| 108 |  | ONE COAT OF PRIMER WITH TWO COATS OF PAINT AT CEILING | SF | 217.31 | 0.23 | 0.253 | 54.9794 | 0.03 | 6.5193 | 1 PORD | 44.4 | 79.92 | 2.3976 | 521.0225 | 576.0019
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | COLD FORMED METAL FRAMING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | STUDS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 109 | A101 | 3-5/8" #20 GA METAL STUDS @ 12" O.C. NO. OF STUDS @ 2'-0" HT: 23 | SF | 46.56 | 1.38 | 1.518 | 70.6781 | 0.043 | 2.0021 | 2 CARP | 53.15 | 95.67 | 4.1138 | 191.539 | 262.2171
| 110 |  | 3-5/8" #20 GA METAL STUDS @ 16" O.C. NO. OF STUDS @ 2'-7" HT: 6 NO. OF STUDS @ 12'-0" HT: 7 NO. OF STUDS @ 14'-0" HT: 5 | SF | 232.0326 | 1.04 | 1.144 | 265.4453 | 0.031609 | 7.3342 | 2 CARP | 53.15 | 95.67 | 3.024 | 701.6666 | 967.1119
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | TOP RUNNERS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 111 |  | 3-5/8" #20 GA. TOP METAL RUNNERS | LF | 47.32 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | BOTTOM RUNNERS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 112 |  | 3-5/8" #20 GA. BOTTOM METAL RUNNERS | LF | 47.32 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | FURRING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 113 |  | 7/8" FURRING CHANNELS | SF | 142.67 | 0.41 | 0.451 | 64.3442 | 0.04 | 5.7068 | 1 LATH | 52.2 | 93.96 | 3.7584 | 536.2109 | 600.5551
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | BRACING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 114 | A101 | 2-1/2" 18 GA. METAL STUD FRAMING CROSS BRACING | LF | 18.8558 | 1.05 | 1.155 | 21.7784 | 0.035 | 0.65995 | 2 CARP | 53.15 | 95.67 | 3.3485 | 63.1377 | 84.9162
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CHANNEL SUPPORT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 115 | A101 | 1-1/2" CONTINUOUS CHANNEL SUPPORT | LF | 8.01 | 0.56 | 0.616 | 4.9342 | 0.03 | 0.2403 | 2 CARP | 53.15 | 95.67 | 2.8701 | 22.9895 | 27.9237
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 10 | SPECIALTIES | SUBTOTAL MATERIAL |  |  | 15463.8 | 0 |  | SUBTOTAL LABOR |  |  |  | 5606.2063 | 0 | 21070.0063 | 29890.2405
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | SIGNAGES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 116 | A930 | A1: ACCESSIBILITY SYMBOL SIZE: 6-3/4"W x 6-3/4" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN HAVING RASIED PICTOGRAM | EA | 3 | 55 | 60.5 | 181.5 | 0.37409 | 1.1223 | 1 CARP | 53.15 | 95.67 | 35.7891 | 107.3672 | 288.8672
| 117 |  | B1: RESTROOM PLATE SIZE: 8" W x 10" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE AND CHARACTERS ETCHED ZINC SIGN HAVING RASIED PICTOGRAM 5/8" H BLACK RAISED CHARACTERS | EA | 1 | 75 | 82.5 | 82.5 | 0.70833 | 0.70833 | 1 CARP | 53.15 | 95.67 | 67.7662 | 67.7662 | 150.2663
| 118 |  | B2: SIGNAGE SIZE: 8" W x 10" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE AND CHARACTERS ETCHED ZINC SIGN W/ RASIED PICTOGRAM HEIGHT IS 6" MINIMUM 5/8" H BLACK RAISED CHARACTERS | EA | 1 | 75 | 82.5 | 82.5 | 0.70833 | 0.70833 | 1 CARP | 53.15 | 95.67 | 67.7662 | 67.7662 | 150.2663
| 119 |  | H1: RAMP ACCESSIBILTY SIGNAGE SIZE: 12" W x 18" HT SPECS: 6 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ RASIED PICTOGRAM 5/8" H BLACK RAISED CHARACTERS | EA | 1 | 180 | 198 | 198 | 1.275 | 1.275 | 1 CARP | 53.15 | 95.67 | 121.9792 | 121.9792 | 319.9793
| 120 |  | H1: RAMP ACCESSIBILTY SIGNAGE SIZE: 12" W x 18" HT SPECS: 6 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ RASIED PICTOGRAM 5/8" H BLACK RAISED CHARACTERS M5: RAISED CHARACTER AND BRAILLE EXIT SIGNAGE SIZE: 7-7/8" W x 4-3/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ 2" H BLACK RAISED CHARACTERS | EA | 1 | 180 | 198 | 198 | 1.275 | 1.275 | 1 CARP | 53.15 | 95.67 | 121.9792 | 121.9792 | 319.9793
| 121 |  | M4: STAIR FLOOR SIGNAGE SIZE: 18" W x 18" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ ETCHED ZINC SIGN PLATE 1" HIGH RIASED BLACK CHARACTERS AT TOP OF PLATE W/ 5" H BLACK RAISED CHARACTERS AT CENTERS FOR FLOOR MARKING 1-3/4" BLACK LONG ARROW FOR DIRECTION M5: RAISED CHARACTER AND BRAILLE EXIT SIGNAGE SIZE: 7-7/8" W x 4-3/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ 2" H BLACK RAISED CHARACTERS | EA | 6 | 270 | 297 | 1782 | 1.9125 | 11.475 | 1 CARP | 53.15 | 95.67 | 182.9689 | 1097.8132 | 2879.8133
| 122 |  | M5: RAISED CHARACTER AND BRAILLE EXIT SIGNAGE SIZE: 7-7/8" W x 4-3/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ 2" H BLACK RAISED CHARACTERS | EA | 1 | 48 | 52.8 | 52.8 | 0.29883 | 0.29883 | 1 CARP | 53.15 | 95.67 | 28.5889 | 28.5889 | 81.3889
| 123 |  | P1: DIRECTIONAL SIGNAGE TO ACCESSIBLE ELEMENTS SIZE: 7-7/8" W x 4-3/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ RIASED ARROW AND PICTOGRAM 5/8" H BLACK RAISED CHARACTERS | EA | 10 | 48 | 52.8 | 528 | 0.29883 | 2.9883 | 1 CARP | 53.15 | 95.67 | 28.5889 | 285.8889 | 813.8889
| 124 |  | R1: ROOM NAME AND NUMBER SIGN SIZE: 7-7/8" W x 4-3/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ 5/8" H BLACK RAISED CHARACTERS | EA | 23 | 48 | 52.8 | 1214.4 | 0.29883 | 6.873 | 1 CARP | 53.15 | 95.67 | 28.5889 | 657.5444 | 1871.9444
| 125 |  | S1: STAIR IDENTIFICATION SIGN SIZE: 5-5/8" W x 5-5/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ CENTER OF DOOR 5/8" H BLACK RAISED CHARACTERS AT TOP OF PLATE AND 2" HIGH BLACK RAISED D275CHARACTERS AT CENTER. S2: STAIR/ ELEVATOR FLOOR LEVEL SIGN SIZE: 5-5/8" W x 5-5/8" HT SPECS: 4 COUNTERSUNK HOLE FOR FASTENER W/ RAISED BRAILLE ETCHED ZINC SIGN W/ 2" H BLACK RAISED CHARACTERS AT CENTER AND 5/8" HIGH RIASED BLACK CHARACTERS AT TOP FOR FLOOR NAME. | EA | 6 | 45 | 49.5 | 297 | 0.26784 | 1.607 | 1 CARP | 53.15 | 95.67 | 25.6241 | 153.7447 | 450.7447
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | MISC. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 126 | FF301-302 | MARKERBOARD SIZE: 5' x 4' | EA | 2 | 1250 | 1375 | 2750 | 4.65 | 9.3 | 2 CARP | 53.15 | 95.67 | 444.8655 | 889.731 | 3639.731
| 127 |  | MARKERBOARD SIZE: 4' x 4' | EA | 1 | 995 | 1094.5 | 1094.5 | 3.85 | 3.85 | 2 CARP | 53.15 | 95.67 | 368.3295 | 368.3295 | 1462.8295
| 128 |  | DISPLAY BOARD SIZE: 4' x 2.9' | EA | 2 | 175 | 192.5 | 385 | 1 | 2 | 2 CARP | 53.15 | 95.67 | 95.67 | 191.34 | 576.34
| 129 |  | FIRE EXTINGUISHER / #10 ABC | EA | 2 | 300 | 330 | 660 | 0.536 | 1.072 | 1 CARP | 53.15 | 95.67 | 51.2791 | 102.5582 | 762.5582
| 130 |  | DISPLAY BOARD SIZE: 4' x 4' | EA | 2 | 218 | 239.8 | 479.6 | 1 | 2 | 2 CARP | 53.15 | 95.67 | 95.67 | 191.34 | 670.94
| 131 |  | RECESSED FIRE BLANKET CABINET SIZE: 10" x 15" 5" | EA | 1 | 220 | 242 | 242 | 2.286 | 2.286 | Q-12 | 56.92 | 102.456 | 234.2144 | 234.2144 | 476.2144
| 132 |  | FIRE BLANKET CABINET SIZE: 10" x 15" x 5" | EA | 1 | 220 | 242 | 242 | 2.286 | 2.286 | Q-12 | 56.92 | 102.456 | 234.2144 | 234.2144 | 476.2144
|  |  | NOTE: ALL ABOVE ITEMS ARE TO BE FURNISHED AND INSTALLED BY G.C.. INCLUDE THE SUM OF $37,555 FOR ALL EQUIPMENT IN CLASSROOMS 304 & 413. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 133 |  | ADJ. HEIGHT INTERACTIVE MONITOR (75" DIA) SIZE: 71" x 43" | EA | 2 | 2150 | 2365 | 4730 | 2.325 | 4.65 | 1 CARP | 53.15 | 95.67 | 222.4328 | 444.8655 | 5174.8655
| 134 |  | WIRELESS ACCESS POINT CEILING MOUNTED BRACKET LOCATION TBD | EA | 2 | 120 | 132 | 264 | 1.25 | 2.5 | 1 CARP | 53.15 | 95.67 | 119.5875 | 239.175 | 503.175
|  |  | NOTE: ALL ABOVE ITEMS ARE TO BE FURNISHED BY OWNER AND INSTALLED BY G.C.. INCLUDE THE SUM OF $37,555 FOR ALL EQUIPMENT IN CLASSROOMS 304 & 413. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 11 | EQUIPMENT | SUBTOTAL MATERIAL |  |  | 132915.7402 | 0 |  | SUBTOTAL LABOR |  |  |  | 9471.32 | 0 | 142387.0602 | 201667.9055
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | EQUIPMENT & ACCESSORIES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 135 | FF301-302 | TEACHER'S DEMONSTRATION TABLE ASSEMBLY SIZE: 12'-2" x 2'-7" x 2'-10" | EA | 2 | 3655 | 4020.5 | 8041 | 3 | 6 | 2 CLAB | 42.1 | 75.78 | 227.34 | 454.68 | 8495.68
| 136 |  | PHYSICS 4 STUDENT LAB TABLE SIZE: 74" x 54" x 36" | EA | 3 | 7500 | 8250 | 24750 | 3 | 9 | 2 CLAB | 42.1 | 75.78 | 227.34 | 682.02 | 25432.02
| 137 |  | PHYSICS 4 STUDENT LAB TABLE-ADA CUSTOM TO BE MADE ADA COMPLIANT SIZE: 74" x 54" x 36" | EA | 1 | 7500 | 8250 | 8250 | 2 | 2 | 2 CLAB | 42.1 | 75.78 | 151.56 | 151.56 | 8401.56
| 138 |  | SERVICE SINK SIZE: 14" x 10" x 6" | EA | 2 | 340 | 374 | 748 | 4.2759 | 8.5517 | Q-1 | 58 | 104.4 | 446.4 | 892.8 | 1640.8
| 139 |  | WATER FAUCET-PAIR OF HOT AND COLD | EA | 2 | 185 | 203.5 | 407 | 2.25 | 4.5 | Q-1 | 58 | 104.4 | 234.9 | 469.8 | 876.8
| 140 |  | BASE CABINET /2 DOOR/ 1 SINK UNIT SIZE: 36'' x 21.75" x 35" | EA | 1 | 1312 | 1443.2 | 1443.2 | 3.9828 | 3.9828 | Q-1 | 58 | 104.4 | 415.8 | 415.8 | 1859
| 141 |  | GLASSWARE DRYING RACK/ 32 PEGS SIZE: 20" x 30" | EA | 2 | 135.84 | 149.424 | 298.848 | 0.5 | 1 | 2 CLAB | 42.1 | 75.78 | 37.89 | 75.78 | 374.628
| 142 |  | INSTRUCTOR'S CLOSET/ WARDROBE SIZE: 24" x 22" x 84" | EA | 2 | 1150 | 1265 | 2530 | 1.5 | 3 | 2 CLAB | 42.1 | 75.78 | 113.67 | 227.34 | 2757.34
| 143 |  | MICROSCOPE STORAGE UNIT SIZE: 24" x 16" x 83" | EA | 1 | 1895 | 2084.5 | 2084.5 | 1.5 | 1.5 | 2 CLAB | 42.1 | 75.78 | 113.67 | 113.67 | 2198.17
| 144 |  | PORTABLE FUME HOOD DUCTLESS -ADA SIZE: 34" x 27.4" x 84" | EA | 1 | 1250 | 1375 | 1375 | 2 | 2 | 2 CLAB | 42.1 | 75.78 | 151.56 | 151.56 | 1526.56
| 145 |  | SAFETY GOGGLE STORAGE UNIT/ WALL MTD SIZE: 25" x 12" x 25" | EA | 2 | 129.6 | 142.56 | 285.12 | 0.5 | 1 | 2 CLAB | 42.1 | 75.78 | 37.89 | 75.78 | 360.9
| 146 |  | BASE CABINET / 2 DOORS / 1 SHELF CUSTOM HEIGHT - BOTTOM OF WINDOW SILL AT 2'-7" SIZE: 35" x 16" x 30" | EA | 5 | 276 | 303.6 | 1518 | 1 | 5 | 2 CLAB | 42.1 | 75.78 | 75.78 | 378.9 | 1896.9
| 147 |  | BASE CABINET / 1 DOOR / 1 SHELF CUSTOM HEIGHT - BOTTOM OF WINDOW SILL AT 2'-7" SIZE: 24" x 16" x 30" | EA | 1 | 350 | 385 | 385 | 1 | 1 | 2 CLAB | 42.1 | 75.78 | 75.78 | 75.78 | 460.78
| 148 |  | EPOXY RESIN COUNTERTOP W/4" APPLIED BACKSPLASH OF SAME MATERIAL / BUILT TO FIELD DIMENSION SIZE: 6" x 18" | EA | 2 | 69 | 75.9 | 151.8 | 0.21449 | 0.42897 | 1 CARP | 53.15 | 95.67 | 20.52 | 41.04 | 192.84
| 149 |  | EPOXY RESIN COUNTERTOP W/4" APPLIED BACKSPLASH OF SAME MATERIAL / BUILT TO FIELD DIMENSION SIZE: 5" x 18" | EA | 1 | 57.5 | 63.25 | 63.25 | 0.17874 | 0.17874 | 1 CARP | 53.15 | 95.67 | 17.1 | 17.1 | 80.35
| 150 |  | STORAGE UNIT /DISPLAY CABINET SIZE: 36" x 22" x 83" | EA | 1 | 640 | 704 | 704 | 1.5 | 1.5 | 2 CLAB | 42.1 | 75.78 | 113.67 | 113.67 | 817.67
| 151 |  | OPEN SHELF W/ EPOXY RESIN TOP SIZE: 36" x 12" x 28" | EA | 2 | 295 | 324.5 | 649 | 1 | 2 | 2 CLAB | 42.1 | 75.78 | 75.78 | 151.56 | 800.56
| 152 |  | ADA BASE CABINET W/ 1 SINK UNIT SIZE: 36" x 12" x 28" | EA | 1 | 1475 | 1622.5 | 1622.5 | 3.9828 | 3.9828 | Q-1 | 58 | 104.4 | 415.8 | 415.8 | 2038.3
| 153 |  | ADA BASE CABINET W/ 1 SINK UNIT SIZE: 36" x 22" x 35" | EA | 1 | 1650 | 1815 | 1815 | 3.9828 | 3.9828 | Q-1 | 58 | 104.4 | 415.8 | 415.8 | 2230.8
| 154 |  | EPOXY RESIN COUNTERTOP W/4" APPLIED BACKSPLASH OF SAME MATERIAL / BUILT TO FIELD DIMENSION SIZE: 7" x 22" | EA | 2 | 98.3889 | 108.2278 | 216.4556 | 0.30584 | 0.61169 | 1 CARP | 53.15 | 95.67 | 29.26 | 58.52 | 274.9756
| 155 |  | EPOXY RESIN COUNTERTOP W/4" APPLIED BACKSPLASH OF SAME MATERIAL / BUILT TO FIELD DIMENSION SIZE: 2" x 22" | EA | 1 | 28.1673 | 30.9841 | 30.9841 | 0.087558 | 0.087558 | 1 CARP | 53.15 | 95.67 | 8.3767 | 8.3767 | 39.3608
| 156 |  | MOBILE PLANT STUDY CENTER W/ LIGHT FIXTURE SIZE: 56" x 30" x 71" | EA | 1 | 1475 | 1622.5 | 1622.5 | 2 | 2 | 2 CLAB | 42.1 | 75.78 | 151.56 | 151.56 | 1774.06
| 157 |  | THREE (3) STUDENT TRI-FACIAL STATION ASSEMBLY - ADA SIZE: 80" x 36" x 34" | EA | 1 | 8053 | 8858.3 | 8858.3 | 3 | 3 | 2 CLAB | 42.1 | 75.78 | 227.34 | 227.34 | 9085.64
| 158 |  | FOUR (4) STUDENT TRI-FACIAL STATION ASSEMBLY - ADA SIZE: 54" x 36" x 36" | EA | 5 | 7258 | 7983.8 | 39919 | 3 | 15 | 2 CLAB | 42.1 | 75.78 | 227.34 | 1136.7 | 41055.7
| 159 |  | CABINET / FLAMMABLE STORAGE SIZE: 36" x 24" 65" | EA | 1 | 640 | 704 | 704 | 1.5 | 1.5 | 2 CLAB | 42.1 | 75.78 | 113.67 | 113.67 | 817.67
| 160 |  | BASE CABINET / 2 DOORS / 1 SHELF SIZE: 35" x 22" 35" | EA | 1 | 350 | 385 | 385 | 1 | 1 | 2 CLAB | 42.1 | 75.78 | 75.78 | 75.78 | 460.78
| 161 |  | BASE CABINET / 1 DOOR / 1 SHELF SIZE: 24" x 22" 35" | EA | 3 | 320 | 352 | 1056 | 1 | 3 | 2 CLAB | 42.1 | 75.78 | 75.78 | 227.34 | 1283.34
| 162 |  | STORAGE UNIT / TOTE TRAY SIZE: 48" x 22" 83" | EA | 1 | 1890 | 2079 | 2079 | 1.5 | 1.5 | 2 CLAB | 42.1 | 75.78 | 113.67 | 113.67 | 2192.67
| 163 |  | MICROSCOPE STORAGE UNIT SIZE: 47" x 16" x 84" | EA | 1 | 2350 | 2585 | 2585 | 1.5 | 1.5 | 2 CLAB | 42.1 | 75.78 | 113.67 | 113.67 | 2698.67
| 164 |  | STORAGE UNIT / 5 SHELVES /2 DOORS SIZE: 48" x 22" x 83" | EA | 1 | 985 | 1083.5 | 1083.5 | 1.25 | 1.25 | 2 CLAB | 42.1 | 75.78 | 94.725 | 94.725 | 1178.225
| 165 |  | STORAGE UNIT /DISPLAY UNIT SIZE: 48" x 22" x 83" | EA | 1 | 985 | 1083.5 | 1083.5 | 1.25 | 1.25 | 2 CLAB | 42.1 | 75.78 | 94.725 | 94.725 | 1178.225
| 166 |  | EPOXY RESIN COUNTERTOP W/4" APPLIED BACKSPLASH OF SAME MATERIAL / BUILT TO FIELD DIMENSION SIZE: 4" x 22" | EA | 1 | 56.166 | 61.7826 | 61.7826 | 0.17459 | 0.17459 | 1 CARP | 53.15 | 95.67 | 16.7033 | 16.7033 | 78.4859
| 167 |  | FUME HOOD DUCTED W/ STORAGE CABINET-ADA W/ MOBILE FLAMMABLE STORAGE CABINET SIZE: 72" x 36" x 81" | EA | 1 | 13625 | 14987.5 | 14987.5 | 5 | 5 | 2 CLAB | 42.1 | 75.78 | 378.9 | 378.9 | 15366.4
| 168 |  | STUDENT SINK/ TRI-FACIAL | EA | 3 | 340 | 374 | 1122 | 4.2759 | 12.8276 | Q-1 | 58 | 104.4 | 446.4 | 1339.2 | 2461.2
|  |  | NOTE: ALL ABOVE ITEMS ARE TO BE FURNISHED AND INSTALLED BY G.C. INCLUDE THE SUM OF $37,555 FOR ALL EQUIPMENT IN CLASSROOMS 304 & 413. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 22 | PLUMBING | SUBTOTAL MATERIAL |  |  | 28343.0048 | 0 |  | SUBTOTAL LABOR |  |  |  | 30663.5062 | 0 | 59006.5111 | 83878.5008
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | PLUMBING FIXTURES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 169 | P400,P401 | SK-1: TEACHER'S SINK W/ EYEWASH STATION | EA | 2 | 490 | 539 | 1078 | 4.85 | 9.7 | Q-1 | 58 | 104.4 | 506.34 | 1012.68 | 2090.68
| 170 |  | SK-2: CASEWORK MOUNTED DROP-IN SINK | EA | 3 | 340 | 374 | 1122 | 4.2759 | 12.8276 | Q-1 | 58 | 104.4 | 446.4 | 1339.2 | 2461.2
| 171 |  | SK-3: TRIPLE FAUCET LAB SINK | EA | 2 | 470 | 517 | 1034 | 4.2759 | 8.5517 | Q-1 | 58 | 104.4 | 446.4 | 892.8 | 1926.8
| 172 |  | SK-4: DROP-IN ISLAND LAB SINK | EA | 1 | 340 | 374 | 374 | 4.2759 | 4.2759 | Q-1 | 58 | 104.4 | 446.4 | 446.4 | 820.4
| 173 |  | DF-1: DRINKING FOUNTAIN-BOTTLE FILLER - GRADE STAFF/ADULT WHEELCHAIR | EA | 5 | 1225 | 1347.5 | 6737.5 | 3.3276 | 16.6379 | Q-1 | 58 | 104.4 | 347.4 | 1737 | 8474.5
| 174 |  | DF-2: DRINKING FOUNTAIN - GRADE STAFF/ADULT STANDING | EA | 6 | 1225 | 1347.5 | 8085 | 3.3276 | 19.9655 | Q-1 | 58 | 104.4 | 347.4 | 2084.4 | 10169.4
| 175 |  | FD-1: FLOOR DRAIN-TRAP PRIMER | EA | 1 | 120 | 132 | 132 | 0.65 | 0.65 | Q-1 | 58 | 104.4 | 67.86 | 67.86 | 199.86
| 176 |  | ES-1: EMERGENCY SHOWER/ EYE WASH STATION | EA | 1 | 770 | 847 | 847 | 3.45 | 3.45 | Q-1 | 58 | 104.4 | 360.18 | 360.18 | 1207.18
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | PIPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | P400,P401 | SANITARY WASTE PIPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 177 |  | 1-1/2" DIA NEW SANITARY WASTE PIPING | LF | 38.14 | 10 | 11 | 419.54 | 0.33359 | 12.7232 | 1 PLUM | 64.45 | 116.01 | 38.7 | 1476.018 | 1895.558
| 178 |  | 2" DIA NEW SANITARY WASTE PIPING | LF | 119.47 | 10.05 | 11.055 | 1320.7409 | 0.36462 | 43.5616 | 1 PLUM | 64.45 | 116.01 | 42.3 | 5053.581 | 6374.3218
| 179 |  | 3" DIA NEW SANITARY WASTE PIPING | LF | 53.22 | 19.2 | 21.12 | 1124.0064 | 0.40341 | 21.4697 | 1 PLUM | 64.45 | 116.01 | 46.8 | 2490.696 | 3614.7024
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | POTABLE HOT WATER PIPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 180 |  | 3/4" DIA POTABLE HOT WATER PIPING | LF | 11.05 | 5.2 | 5.72 | 63.206 | 0.15749 | 1.7402 | 1 PLUM | 64.45 | 116.01 | 18.27 | 201.8835 | 265.0895
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | POTABLE COLD WATER PIPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 181 |  | 3/4" DIA POTABLE COLD WATER PIPING | LF | 212.1 | 5.2 | 5.72 | 1213.212 | 0.15749 | 33.4029 | 1 PLUM | 64.45 | 116.01 | 18.27 | 3875.067 | 5088.279
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | POTABLE TEMPERED WATER PIPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 182 |  | 3/4" DIA POTABLE TEMPERED WATER PIPING | LF | 194.24 | 5.2 | 5.72 | 1111.0528 | 0.15749 | 30.5902 | 1 PLUM | 64.45 | 116.01 | 18.27 | 3548.7648 | 4659.8176
| 183 |  | 3/4" DIA RETURN POTABLE TEMPERED WATER PIPING | LF | 103.01 | 5.2 | 5.72 | 589.2172 | 0.15749 | 16.2227 | 1 PLUM | 64.45 | 116.01 | 18.27 | 1881.9927 | 2471.2099
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | VENT PIPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 184 |  | 2" DIA VENT PIPING | LF | 35.81 | 10.05 | 11.055 | 395.8796 | 0.36462 | 13.0572 | 1 PLUM | 64.45 | 116.01 | 42.3 | 1514.763 | 1910.6426
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CLEAN OUT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 185 | P400,P401 | WCO: WALL CLEAN OUT | EA | 3 | 183 | 201.3 | 603.9 | 0.8 | 2.4 | 1 PLUM | 64.45 | 116.01 | 92.808 | 278.424 | 882.324
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | VALVES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 186 | P400,P401 | BALANCING VALVE | EA | 2 | 210 | 231 | 462 | 0.65 | 1.3 | 1 PLUM | 64.45 | 116.01 | 75.4065 | 150.813 | 612.813
| 187 |  | TRAP PRIMER VALVE BOX | EA | 1 | 12.5 | 13.75 | 13.75 | 0.325 | 0.325 | 1 PLUM | 64.45 | 116.01 | 37.7033 | 37.7033 | 51.4533
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | TANK |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 188 | P400,P401 | NEW LOCAL ACID NEUTRALIZATION TANK | EA | 2 | 450 | 495 | 990 | 1.85 | 3.7 | Q-1 | 58 | 104.4 | 193.14 | 386.28 | 1376.28
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | BENDING & FITTING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 189 |  | ALLOWANCE PROVIDED FOR BENDING & FITTINGS AREA: 2315 SF | LS | 1 | 570 | 627 | 627 | 17.5 | 17.5 | Q-1 | 58 | 104.4 | 1827 | 1827 | 2454
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 23 | HEATING, VENTILATION AND AIR CONDITIONING (HVAC) | SUBTOTAL MATERIAL |  |  | 10492.35 | 0 |  | SUBTOTAL LABOR |  |  |  | 21823.0826 | 0 | 32315.4325 | 45994.2576
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | DUCT WORK |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 190 | M101,M102 | 24 GA. DUCTWORK | LBS | 895 | 0.65 | 0.715 | 639.925 | 0.10404 | 93.1169 | Q-10 | 58.15 | 104.67 | 10.89 | 9746.55 | 10386.475
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | INSULATION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 191 |  | 1.5" FIBERGLASS INSUALTION | SF | 795 | 1.25 | 1.375 | 1093.125 | 0.035 | 27.825 | Q-14 | 52.77 | 94.986 | 3.3245 | 2642.9855 | 3736.1105
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | DIFFUSERS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 192 | M101,M102 | A: 24 x 24 SQUARE FACE CEILING DIFFUSER AIR FLOW: 250 CFM MFR/ MODEL NO: NAILOR/UNI NOTES: 3. FOR VARIABLE VOLUME SYSTEMS SELECT DIFFUSER NECK SIZES SUCH THAT BOTH MAXIMUM AND MINIMUM AIR FLOWS FALL WITHIN MANUFACTURER'S CATALOGUED MAXIMUM AND MINIMUM AIR FLOW RATINGS. MAXIMUM AIR FLOW PRODUCING AN NC RATING OF 25 TO 30 AND MINIMUM FLOW PRODUCING A LISTED THROW. 4. PROVIDE OPPOSED BLADE DAMPER FOR ALL REGISTERS. 5. PROVIDE OPPOSED BLADE DAMPER AND EQUALIZING GRID FOR ALL DIFFUSERS. 6. PROVIDE MOUNTING FRAMES TO MATCH CEILING IN WHICH UNIT IS INSTALLED, COUNTERSINK ALL MOUNTING SCREWS. | EA | 4 | 222 | 244.2 | 976.8 | 0.803 | 3.212 | 1 SHEE | 62.3 | 112.14 | 90.0484 | 360.1937 | 1336.9937
| 193 | M101,M102 | B: RETURN/EXHAUST GRILLE MFR/ MODEL NO: NAILOR/6145H NOTES: 3. FOR VARIABLE VOLUME SYSTEMS SELECT DIFFUSER NECK SIZES SUCH THAT BOTH MAXIMUM AND MINIMUM AIR FLOWS FALL WITHIN MANUFACTURER'S CATALOGUED MAXIMUM AND MINIMUM AIR FLOW RATINGS. MAXIMUM AIR FLOW PRODUCING AN NC RATING OF 25 TO 30 AND MINIMUM FLOW PRODUCING A LISTED THROW. 4. PROVIDE OPPOSED BLADE DAMPER FOR ALL REGISTERS. 5. PROVIDE OPPOSED BLADE DAMPER AND EQUALIZING GRID FOR ALL DIFFUSERS. 6. PROVIDE MOUNTING FRAMES TO MATCH CEILING IN WHICH UNIT IS INSTALLED, COUNTERSINK ALL MOUNTING SCREWS. | EA | 4 | 43.5 | 47.85 | 191.4 | 0.441 | 1.764 | 1 SHEE | 62.3 | 112.14 | 49.4537 | 197.815 | 389.215
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | VENTILATION SYSTEM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 194 |  | DOAS-1: OCCUPANCY LOAD (PERSONS/1000 SF): 25 OCCUPANT BASED OUTSIDE AIR RATE: 10 CFM/OCCUPANT AREA BASED OUTSIDE AIR RATE: 0.18 CFM/SF TOTAL OA REQUIRED: 430 CFM ACTUAL OA PROVIDED: 1200 CFM TOTAL EXHAUST AIR REQUIRED (BASED ON 1 CFM/SFT): 997 ACTUAL EXHAUST AIR PROVIDED : 1300 CFM | EA | 1 | 850 | 935 | 935 | 4 | 4 | Q-5 | 59 | 106.2 | 424.8 | 424.8 | 1359.8
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CUSTOM FABRICATED HEAT PUMP DOAS UNIT COIL |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 195 | M101,M102 | DOAS: CUSTOM FABRICATED HEAT PUMP DOAS UNIT COIL BASIS OF DESIGN: LG MODEL NO: ARDC-112-F H-5A-1-A1 OUTSIDE AIR: 1000 CFM PHASE: 3 VOLTAGE: 208 WEIGHT: 3614 LBS REFRIGERANT TYPE: R-410A SEER: 16.56 HSPF: 12.12 | EA | 1 | 2210 | 2431 | 2431 | 8 | 8 | Q-5 | 59 | 106.2 | 849.6 | 849.6 | 3280.6
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | THERMOSTAT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 196 | M101,M102 | THERMOSTAT | EA | 1 | 250 | 275 | 275 | 0.4 | 0.4 | 1 ELEC | 61.3 | 110.34 | 44.136 | 44.136 | 319.136
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | DAPMER |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 197 | M101,M102 | FIRE DAMPER WITH ACCESS DOOR | EA | 2 | 66 | 72.6 | 145.2 | 1.003 | 2.006 | 1 SHEE | 62.3 | 112.14 | 112.4764 | 224.9528 | 370.1528
| 198 |  | VOLUME DAMPER | EA | 4 | 46 | 50.6 | 202.4 | 0.377 | 1.508 | 1 SHEE | 62.3 | 112.14 | 42.2768 | 169.1071 | 371.5071
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | MISC. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 199 | M101,M102 | END CAP | EA | 5 | 5 | 5.5 | 27.5 | 0.325 | 1.625 | 1 SHEE | 62.3 | 112.14 | 36.4455 | 182.2275 | 209.7275
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | FITTINGS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 200 |  | ALLOWANCE PROVIDE FOR FITTINGS ETC. AREA: 981 SF | LS | 1 | 3250 | 3575 | 3575 | 62.25 | 62.25 | 1 SHEE | 62.3 | 112.14 | 6980.715 | 6980.715 | 10555.715
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DIV. 26 | ELECTRICAL | SUBTOTAL MATERIAL |  |  | 57209.9 | 0 |  | SUBTOTAL LABOR |  |  |  | 39919.3569 | 0 | 97129.2569 | 137949.8837
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | LIGHTING FIXTURES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 201 | E100,E101,E102E103 | OS:OCCUPANCY SENSOR MFR: HUBBELL MODEL NO: NXOS-OM-DT2 VOLT: 24VDC MOUNTING: SURFACE | EA | 2 | 235 | 258.5 | 517 | 1.142 | 2.284 | 1 ELEC | 61.3 | 110.34 | 126.0083 | 252.0166 | 769.0166
| 202 |  | VS: VACANCY SENSOR MFR: HUBBELL MODEL NO: NXOS-OM-DT2 VOLT: 24VDC MOUNTING: SURFACE | EA | 2 | 235 | 258.5 | 517 | 1.142 | 2.284 | 1 ELEC | 61.3 | 110.34 | 126.0083 | 252.0166 | 769.0166
| 203 |  | RC: ROOM CONTROLLER MFR: HUBBELL MODEL NO: NXRCFX2-2RD VOLT: 120-227V MOUNTING: RECESSED | EA | 3 | 220 | 242 | 726 | 1.142 | 3.426 | 1 ELEC | 61.3 | 110.34 | 126.0083 | 378.0248 | 1104.0248
| 204 |  | DS: CEILING MOUNTED DAYLIGHT SENSOR MFR: HUBBELL MODEL NO: NXDS VOLT: 24VDC MOUNTING: CEILING | EA | 1 | 245 | 269.5 | 269.5 | 1.142 | 1.142 | 1 ELEC | 61.3 | 110.34 | 126.0083 | 126.0083 | 395.5083
| 205 |  | LV: LOW VOLTAGE SWITCH (ON/OFF/RAISE/LOWER) MFR: HUBBELL MODEL NO: NXSW-ORLO-WH VOLT: 24VDC MOUNTING: RECESSED | EA | 6 | 465 | 511.5 | 3069 | 1.142 | 6.852 | 1 ELEC | 61.3 | 110.34 | 126.0083 | 756.0497 | 3825.0497
| 206 |  | F1: DIMMABLE DRIVER MFR: LITE CONTROL MODEL NO: 4L-P-ID-LPA-4-SO F-40K-I090-D040 TYPE: LED WATTS: 20 VOLT: 150-227 V MOUNTING: PENDANT | EA | 28 | 235 | 258.5 | 7238 | 1.25 | 35 | 1 ELEC | 61.3 | 110.34 | 137.925 | 3861.9 | 11099.9
| 207 |  | F1E: EMERGENCY BATTERY BACKUP W/ 90 MINUTES OF BACKUP CAPACITY, DIMMABLE DRIVER MFR: LITE CONTROL MODEL NO: 4L-P-ID-LPA-4-SO F-40K-I090-D040-EF TYPE: LED WATTS: 20 VOLT: 150-227 V MOUNTING: PENDANT | EA | 14 | 260 | 286 | 4004 | 1.45 | 20.3 | 1 ELEC | 61.3 | 110.34 | 159.993 | 2239.902 | 6243.902
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | CONTROL RECEPTACLE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 208 |  | OS: OCCUPANCY SENSOR MFR: HUBBELL MODEL NO: OMNI-DT-2000 VOLT: 24VDC MOUNTING: SURFACE | EA | 2 | 185 | 203.5 | 407 | 1.142 | 2.284 | 1 ELEC | 61.3 | 110.34 | 126.0083 | 252.0166 | 659.0166
| 209 |  | PP: POWER PACK MFR: HUBBELL MODEL NO: UVPP VOLT: 120 V MOUNTING: RECESSED | EA | 2 | 48 | 52.8 | 105.6 | 0.585 | 1.17 | 1 ELEC | 61.3 | 110.34 | 64.5489 | 129.0978 | 234.6978
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | RECEPTACLE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 210 | E100,E101,E102E103 | DUPLEX RECEPTACLE | EA | 7 | 99 | 108.9 | 762.3 | 0.597 | 4.179 | 1 ELEC | 61.3 | 110.34 | 65.873 | 461.1109 | 1223.4109
| 211 |  | GROUND FAULT DUPLEX RECEPTACLE | EA | 5 | 120 | 132 | 660 | 0.599 | 2.995 | 1 ELEC | 61.3 | 110.34 | 66.0937 | 330.4683 | 990.4683
| 212 |  | QUAD RECEPTACLE | EA | 2 | 135 | 148.5 | 297 | 0.605 | 1.21 | 1 ELEC | 61.3 | 110.34 | 66.7557 | 133.5114 | 430.5114
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | OUTLETS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 213 | E100,E101,E102E103 | DATA OUTLET | EA | 2 | 88 | 96.8 | 193.6 | 1.003 | 2.006 | 1 ELEC | 61.3 | 110.34 | 110.671 | 221.342 | 414.942
| 214 |  | TELEPHONE OUTLET | EA | 1 | 88 | 96.8 | 96.8 | 1.003 | 1.003 | 1 ELEC | 61.3 | 110.34 | 110.671 | 110.671 | 207.471
| 215 |  | DATA DROP FOR AV INPUT | EA | 2 | 95 | 104.5 | 209 | 1.003 | 2.006 | 1 ELEC | 61.3 | 110.34 | 110.671 | 221.342 | 430.342
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | ELECTRIC PANEL |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 216 | E100,E101,E102E103 | 4B: ELECTRIC PANELBOARD MFR: EATON PANEL TYPE: PRL1A NEMA TYPE ENCLOSURE: 1 AIC RATING: 22000 VOLTAGE: 120/208 V MAINS: MLO MAINS RATING: 100 A MOUNTING: RECESSED PHASE: 3 | EA | 1 | 1275 | 1402.5 | 1402.5 | 14.625 | 14.625 | 1 ELEC | 61.3 | 110.34 | 1613.7225 | 1613.7225 | 3016.2225
| 217 |  | 4VB: ELECTRIC PANELBOARD MFR: EATON PANEL TYPE: PRL1A NEMA TYPE ENCLOSURE: 1 AIC RATING: 22000 VOLTAGE: 120/208 V MAINS: MLO MAINS RATING: 60 A MOUNTING: RECESSED PHASE: 3 | EA | 1 | 1275 | 1402.5 | 1402.5 | 14.625 | 14.625 | 1 ELEC | 61.3 | 110.34 | 1613.7225 | 1613.7225 | 3016.2225
| 218 |  | 3A: ELECTRIC PANELBOARD MFR: EATON PANEL TYPE: PRL1A NEMA TYPE ENCLOSURE: 1 AIC RATING: 22000 VOLTAGE: 120/208 V MAINS: MLO MAINS RATING: 100 A MOUNTING: RECESSED PHASE: 3 | EA | 1 | 1275 | 1402.5 | 1402.5 | 14.625 | 14.625 | 1 ELEC | 61.3 | 110.34 | 1613.7225 | 1613.7225 | 3016.2225
| 219 |  | 3VA: ELECTRIC PANELBOARD MFR: EATON PANEL TYPE: PRL1A NEMA TYPE ENCLOSURE: 1 AIC RATING: 22000 VOLTAGE: 120/208 V MAINS: MLO MAINS RATING: 100 A MOUNTING: RECESSED PHASE: 3 | EA | 1 | 1275 | 1402.5 | 1402.5 | 14.625 | 14.625 | 1 ELEC | 61.3 | 110.34 | 1613.7225 | 1613.7225 | 3016.2225
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | MISC. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 220 | E100,E101,E102E103 | INDOOR TOUCH SCREEN PANEL | EA | 1 | 3850 | 4235 | 4235 | 7.528 | 7.528 | 1 ELEC | 61.3 | 110.34 | 830.6395 | 830.6395 | 5065.6395
| 221 |  | POKE THRU FLOOR BOX | EA | 12 | 425 | 467.5 | 5610 | 1.428 | 17.136 | 1 ELEC | 61.3 | 110.34 | 157.5655 | 1890.7862 | 7500.7862
| 222 |  | STANDALONE VIDEO INTERCOM SYSTEM | EA | 3 | 2650 | 2915 | 8745 | 7.993 | 23.979 | 1 ELEC | 61.3 | 110.34 | 881.9476 | 2645.8429 | 11390.8429
| 223 |  | WALL MOUNTED PUBLIC ADDRESS SPEAKER | EA | 1 | 171 | 188.1 | 188.1 | 1.501 | 1.501 | 1 ELEC | 61.3 | 110.34 | 165.6203 | 165.6203 | 353.7203
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  | WIRING ALLOWANCE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 224 |  | ALLOWANCE PROVIDE FOR ELECTRICAL WIRING, OUTLETS, INTERIOR LIGHTING ETC. AREA: 2315 SF | LS | 1 | 12500 | 13750 | 13750 | 165 | 165 | 1 ELEC | 61.3 | 110.34 | 18206.1 | 18206.1 | 31956.1
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
PROVISIONS
[8 empty] | TOTAL MATERIAL COST | [8 empty] | 5817.68
[8 empty] | TOTAL LABOR COST | [8 empty] | 10447.785
[8 empty] | SUBTOTAL | [8 empty] | 16265.465
[8 empty] | SALES TAX | [7 empty] | 8.88% | 516.61
[8 empty] | LABOR BURDEN | [7 empty] | 10% | 1044.7785
[8 empty] | OVERHEAD & PROFIT | [7 empty] | 25% | 4066.3663
[8 empty] | BONDING | [7 empty] | 2% | 437.8644
[8 empty] | CONTINGENCY / WASTAGE | [7 empty] | 5% | 813.2733
[8 empty] | ALTERNATE - PROPOSED PROJECT AMOUNT | [8 empty] | 23144.3574
[8 empty] | TOTAL MANHOURS | [8 empty] | 112.89
| LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  |  | LABOR | [6 empty] | LINE TOTAL | TRADE TOTAL
[6 empty] | UNIT PRICE | UNIT PRICE | TOTAL COST | UNIT LABOR HOUR | LABOR HOURS | CREW | LABOR RATE | LABOR RATE | UNIT PRICE | TOTAL COST
|  |  | PROVISIONS | SUBTOTAL MATERIAL |  |  | 5817.68 | 0 |  | SUBTOTAL LABOR |  |  |  | 10447.785 | 0 | 16265.465 | 23144.3574
225 | 225 |  | PROVIDE CANE RAILS AT LOCATIONS IDENTIFIED WHERE OBJECTS PROTRUDE INTO THE ACCESSIBLE PATH OF TRAVEL MORE THAN 4", INCLUDING RADIATORS, PULL BOXES, FIRE EXTINGUISH | LOC | 10 | 110 | 121 | 1210 | 1.125 | 11.25 | E-4 | 62.74 | 112.932 | 127.0485 | 1270.485 | 2480.485
226 | 226 |  | PROVIDE OF CORIAN TILE, 21" THICK ADHERED TO WALL BEHIND NEW DRINKING FOUNTAIN LOCATIONS, WHERE EXISTING CORIAN IS DAMAGED AND CANNOT REMAIN | SF | 160 | 8.98 | 9.878 | 1580.48 | 0.114 | 18.24 | 1 TILF | 49.5 | 89.1 | 10.1574 | 1625.184 | 3205.664
227 | 227 |  | PROVIDE ADDITIONAL SIGNS AT LOCATIONS IDENTIFIED BY THE TEAM IN THE FIELD | EA | 10 | 150 | 165 | 1650 | 0.65 | 6.5 | 1 CARP | 53.15 | 95.67 | 62.1855 | 621.855 | 2271.855
228 | 228 |  | PROVIDE ADDITIONAL INTERIOR WALL AND CEILING PLASTER REPAIR; ON EXPANDED S.S. LATH, PLUS THREE-COAT PLASTER TO ACHIEVE A LEVEL 5 FINISH | SF | 200 | 1.56 | 1.716 | 343.2 | 0.147 | 29.4 | J-2 | 49.55 | 89.19 | 13.1109 | 2622.186 | 2965.386
229 | 229 |  | PROVIDE ADDITIONAL INTERIOR WALL AND CEILING PRIMER AND PAINT CORNER TO CORNER | SF | 500 | 0.23 | 0.253 | 126.5 | 0.03 | 15 | 1 PORD | 44.4 | 79.92 | 2.3976 | 1198.8 | 1325.3
230 | 230 |  | PROVIDE ADDITIONAL GYPSUM BOARD REPLACEMENT, NEW SURFACES, WALLS OR CEILINGS | SF | 500 | 1.65 | 1.815 | 907.5 | 0.065 | 32.5 | 2 CARP | 53.15 | 95.67 | 6.2186 | 3109.275 | 4016.775
[7 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0