## Summary
SUMMARY
DATE |  | PROJECT NAME | PROJECT LOCATION
2024-02-28 |  | GARAGE ADDITION AT RACINE RESIDENCE | 733 RTE 340 PALISADES, NY 10964
GROSS AREA: 4100 SF
LINE NO. | CSI DIV. | DESCRIPTION | MATERIAL COST | LABOR COST | TOTAL COST
1 | DIV. 01 | GENERAL REQUIREMENTS | 0 | 67069 | 67069
2 | DIV. 02 | EXISTING CONDITIONS | 1871.1728 | 27418.2284 | 29289.4012
3 | DIV. 03 | CONCRETE | 11865.8019 | 14078.4948 | 25944.2968
4 | DIV. 04 | MASONRY | 213.3345 | 508.0148 | 721.3493
5 | DIV. 06 | WOOD, PLASTICS AND COMPOSITES | 81073.5407 | 61897.0466 | 142970.5873
6 | DIV. 07 | THERMAL AND MOISTURE PROTECTION | 91198.7083 | 70530.1072 | 161728.8155
7 | DIV. 08 | OPENINGS | 50185.5824 | 19980.809 | 70166.3914
8 | DIV. 09 | FINISHES | 21522.1162 | 43545.2532 | 65067.3694
9 | DIV. 12 | FURNISHINGS | 17867.3458 | 2625.6705 | 20493.0163
10 | DIV. 22 | PLUMBING | 5942.3354 | 3253.2775 | 9195.6128
11 | DIV. 23 | HEATING, VENTILATION AND AIR CONDITIONING (HVAC) | 10084.9034 | 12277.36 | 22362.2634
12 | DIV. 26 | ELECTRICAL | 36877.3111 | 20506.0174 | 57383.3285
13 | DIV. 31 | EARTHWORK | 0 | 15795.7755 | 15795.7755
14 | DIV. 32 | EXTERIOR IMPROVEMENTS | 42648.1773 | 35345.3576 | 77993.5349
|  | TOTAL PROJECT COST |  |  | 766180.7423

## Detailed Estimate Sheet
[17 empty] | MAT. FAC. | LAB. FAC.
CONSTRUCTION COST ESTIMATE BREAKDOWN | [16 empty] | 1.1 | 1.302
CONTRACTOR | [6 empty] | ADDRESS | [9 empty] | 0.941 | 1.302
[7 empty] | TOTAL MATERIAL COST | [8 empty] | 263280.1479
[7 empty] | TOTAL LABOR COST | [8 empty] | 276685.643
[7 empty] | SUBTOTAL | [8 empty] | 539965.7908
[7 empty] | SALES TAX | [7 empty] | 8.38% | 22062.8764
[7 empty] | LABOR BURDEN | [7 empty] | 10% | 27668.5643
[7 empty] | OVERHEAD & PROFIT | [7 empty] | 25% | 134991.4477
[7 empty] | BONDING | [7 empty] | 2% | 14493.7736
[7 empty] | CONTINGENCY / WASTAGE | [7 empty] | 5% | 26998.2895
[7 empty] | PROPOSED PROJECT AMOUNT | [8 empty] | 766180.7423
[7 empty] | TOTAL MANHOURS | [8 empty] | 3340.5564
DATE |  | PROJECT NAME | SCOPE OF WORK |  |  |  |  | PROJECT LOCATION
2024-02-28 |  | GARAGE ADDITION AT RACINE RESIDENCE | COMPLETE SCOPE OF WORK |  |  |  |  | 733 RTE 340 PALISADES, NY 10964
GROSS AREA: 4100 SF
LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  |  | LABOR | [6 empty] | LINE TOTAL | TRADE TOTAL W/ S.TAX, O&P
[5 empty] | UNIT PRICE | UNIT PRICE | TOTAL COST | UNIT LABOR HOUR | LABOR HOURS | CREW | LABOR RATE | LABOR RATE | UNIT PRICE | TOTAL COST
| DIV. 01 | GENERAL REQUIREMENTS | SUBTOTAL MATERIAL |  |  | 0 | 0 |  | SUBTOTAL LABOR |  |  |  | 47000 | 0 | 47000 | 67069
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
1 |  | PERMITS | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 3500 | 3500 | 3500
2 |  | SITE SUPERVISION | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 29500 | 29500 | 29500
3 |  | FINAL CLEANUP | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 9500 | 9500 | 9500
4 |  | DUMPSTER | LS | 1 |  | 0 | 0 |  | 0 |  |  | 0 | 4500 | 4500 | 4500
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 02 | EXISTING CONDITIONS | SUBTOTAL MATERIAL |  |  | 1326.6251 | 0 |  | SUBTOTAL LABOR |  |  |  | 19213.8951 | 0 | 20540.5202 | 29289.4012
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DEMOLITION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
5 | A100 - A102 | REMOVE EXISTING WINDOWS | EA | 9 |  | 0 | 0 | 2.02 | 18.18 | 1 CLAB | 42.1 | 54.8142 | 110.7247 | 996.5222 | 996.5222
6 |  | REMOVE EXISTING STAIRS | EA | 5 |  | 0 | 0 | 0.38 | 1.9 | 1 CLAB | 42.1 | 54.8142 | 20.8294 | 104.147 | 104.147
7 |  | REMOVE EXISTING DECK | SF | 40.22 |  | 0 | 0 | 0.049 | 1.9708 | 1 CLAB | 42.1 | 54.8142 | 2.6859 | 108.0267 | 108.0267
8 |  | REMOVE EXISTING RAILING | LF | 25.88 |  | 0 | 0 | 0.165 | 4.2702 | 1 CLAB | 42.1 | 54.8142 | 9.0443 | 234.0676 | 234.0676
9 |  | REMOVE EXISTING CONCRETE STAIR | SF | 56.99 |  | 0 | 0 | 0.225 | 12.8228 | 1 CLAB | 42.1 | 54.8142 | 12.3332 | 702.8688 | 702.8688
10 |  | REMOVE EXISTING EXTERIOR WALL W/ ITS FINISHES | SF | 608 |  | 0 | 0 | 0.054 | 32.832 | 1 CLAB | 42.1 | 54.8142 | 2.96 | 1799.6598 | 1799.6598
11 |  | REMOVE EXISTING DOOR | EA | 3 |  | 0 | 0 | 2.275 | 6.825 | 1 CLAB | 42.1 | 54.8142 | 124.7023 | 374.1069 | 374.1069
12 |  | REMOVE EXISTING ROOFING IN ITS ENTIRETY | SF | 502.944 |  | 0 | 0 | 0.054 | 27.159 | 1 CLAB | 42.1 | 54.8142 | 2.96 | 1488.6975 | 1488.6975
13 |  | REMOVE EXISTING FLOORING | SF | 684 |  | 0 | 0 | 0.049 | 33.516 | 1 CLAB | 42.1 | 54.8142 | 2.6859 | 1837.1527 | 1837.1527
14 |  | REMOVE EXISTING CEILING | SF | 684 |  | 0 | 0 | 0.052 | 35.568 | 1 CLAB | 42.1 | 54.8142 | 2.8503 | 1949.6315 | 1949.6315
15 |  | REMOVE EXISTING SIDING | SF | 1812 |  | 0 | 0 | 0.054 | 97.848 | 1 CLAB | 42.1 | 54.8142 | 2.96 | 5363.4598 | 5363.4598
16 | E110 | REMOVE EXISTING LIGHTING FIXTURES | EA | 35 |  | 0 | 0 | 0.365 | 12.775 | 1 CLAB | 42.1 | 54.8142 | 20.0072 | 700.2514 | 700.2514
17 |  | REMOVE EXISTING RECEPTACLES | EA | 25 |  | 0 | 0 | 0.285 | 7.125 | 1 CLAB | 42.1 | 54.8142 | 15.622 | 390.5512 | 390.5512
18 |  | REMOVE EXISTING SWITCHES | EA | 15 |  | 0 | 0 | 0.285 | 4.275 | 1 CLAB | 42.1 | 54.8142 | 15.622 | 234.3307 | 234.3307
19 |  | REMOVE EXISTING DETECTORS | EA | 7 |  | 0 | 0 | 0.365 | 2.555 | 1 CLAB | 42.1 | 54.8142 | 20.0072 | 140.0503 | 140.0503
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DEMOLITION AS PER NOTES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
20 | A101,A102 | REMOVE EXISTING WATER CLOSET | EA | 2 |  | 0 | 0 | 3.5 | 7 | 1 CLAB | 42.1 | 54.8142 | 191.8497 | 383.6994 | 383.6994
21 |  | REMOVE EXISTING LAVATORY COUNTER MOUNTED | EA | 1 |  | 0 | 0 | 3.5 | 3.5 | 1 CLAB | 42.1 | 54.8142 | 191.8497 | 191.8497 | 191.8497
22 |  | REMOVE EXISTING LAVATORY WALL MOUNTED | EA | 1 |  | 0 | 0 | 3.5 | 3.5 | 1 CLAB | 42.1 | 54.8142 | 191.8497 | 191.8497 | 191.8497
23 |  | REMOVE EXISTING 5'-0" X 2'-6" BATH TUB | EA | 1 |  | 0 | 0 | 3.65 | 3.65 | 1 CLAB | 42.1 | 54.8142 | 200.0718 | 200.0718 | 200.0718
24 |  | REMOVE EXISTING KITCHEN SINK | EA | 1 |  | 0 | 0 | 3.5 | 3.5 | 1 CLAB | 42.1 | 54.8142 | 191.8497 | 191.8497 | 191.8497
25 |  | REMOVE EXISTING 2'-0"D BASE CABINET | LF | 15 |  | 0 | 0 | 0.23 | 3.45 | 1 CLAB | 42.1 | 54.8142 | 12.6073 | 189.109 | 189.109
26 |  | REMOVE EXISTING 1'-0"D UPPER CABINET | LF | 15 |  | 0 | 0 | 0.185 | 2.775 | 1 CLAB | 42.1 | 54.8142 | 10.1406 | 152.1094 | 152.1094
27 |  | REMOVE EXISTING 1'-3"W X 2'-6"DEEP 7'-0"HT PANTRY CABINET | EA | 1 |  | 0 | 0 | 2.265 | 2.265 | 1 CLAB | 42.1 | 54.8142 | 124.1542 | 124.1542 | 124.1542
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PATCH & REPAIR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
28 | A100 - A102 | PATCH & REAPIR EXISTING WALLS | SF | 60.32 | 4.54 | 4.994 | 301.2381 | 0.2 | 12.064 | D-9 | 46.9 | 61.0638 | 12.2128 | 736.6737 | 1037.9118
29 |  | PATCH & REAPIR EXISTING FLOORING | SF | 8 | 6.85 | 7.535 | 60.28 | 0.114 | 0.912 | 1 TILF | 49.5 | 64.449 | 7.3472 | 58.7775 | 119.0575
30 |  | PATCH & REAPIR EXISTING CEILING | SF | 8 | 4.67 | 5.137 | 41.096 | 0.04 | 0.32 | 1 CARP | 53.15 | 69.2013 | 2.7681 | 22.1444 | 63.2404
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | ADJUST |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
31 | A102 | ADJUST EXISTING ROOF FRAMING | SF | 503 | 1.67 | 1.837 | 924.011 | 0.01 | 5.03 | 1 CARP | 53.15 | 69.2013 | 0.69201 | 348.0825 | 1272.0935
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 03 | CONCRETE | SUBTOTAL MATERIAL |  |  | 8412.6224 | 0 |  | SUBTOTAL LABOR |  |  |  | 9865.7988 | 0 | 18278.4211 | 25944.2968
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SLAB ON GRADE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
32 | A101 | 4" THK. CONCRETE SLAB ON GRADE (3500 PSI) W/ 6x6 10x10 WWF OVER 4" CRUSHED STONE BASE COURSE, 6 MIL POLYETHYLENE VAPOR RETARDER | SF | 565.01 | 2.59 | 2.849 | 1609.7135 | 0.073 | 41.2457 | C14G | 47.35 | 61.6497 | 4.5004 | 2542.7869 | 4152.5004
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | FOOTING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | CONTINUOUS FOOTING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
33 | A100 | 1'-4"W x 8"D CONTINUOUS FOOTING W/ (2) #5 BARS | CY | 2.4423 | 310 | 341 | 832.8155 | 5.7301 | 13.9945 | C14C | 50.61 | 65.8942 | 377.58 | 922.1538 | 1754.9693
34 |  | 1'-0"W x 8"D CONTINUOUS FOOTING | CY | 0.29778 | 310 | 341 | 101.5422 | 5.7301 | 1.7063 | C14C | 50.61 | 65.8942 | 377.58 | 112.4349 | 213.9772
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | ISOLATED FOOTING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
35 |  | 1'-6"DIA x 3'-6"D CONCRETE ISOLATED FOOTING OVER 4" CRUSHED GRAVEL | CY | 4.5815 | 304.22 | 334.642 | 1533.1623 | 6.415 | 29.3903 | C14H | 52.21 | 67.9774 | 436.0751 | 1997.8783 | 3531.0406
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | CONCRETE WALL |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
36 | A100 | 8" THK. CONCRETE FOUNDATION WALL W/ #4 @ 12" O.C. & #6 @ 36" O.C. VERTICAL BARS | CY | 6.8318 | 366 | 402.6 | 2750.4693 | 5.017 | 34.275 | C14D | 54.81 | 71.3626 | 358.0263 | 2445.9519 | 5196.4212
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | FORMWORK |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
37 | A100 | FORMWORK REQUIRED | SF | 720.418 | 2 | 2.2 | 1584.9196 | 0.037 | 26.6555 | 2 CARP | 53.15 | 69.2013 | 2.5604 | 1844.5929 | 3429.5125
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 04 | MASONRY | SUBTOTAL MATERIAL |  |  | 151.25 | 0 |  | SUBTOTAL LABOR |  |  |  | 356.002 | 0 | 507.252 | 721.3493
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | INFILL |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
38 |  | INFILL EXISTING MASONRY WALL OPENINGS TO MATCH EXISITNG | SF | 27.5 | 5 | 5.5 | 151.25 | 0.212 | 5.83 | D-9 | 46.9 | 61.0638 | 12.9455 | 356.002 | 507.252
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 06 | WOOD, PLASTICS AND COMPOSITES | SUBTOTAL MATERIAL |  |  | 57479.5606 | 0 |  | SUBTOTAL LABOR |  |  |  | 43375.6459 | 0 | 100855.2064 | 142970.5873
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | WALL FRAMING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | STUDS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
39 | A101,A102 | 2X4 WOOD STUDS @ 16" O.C. NO. OF STUDS @ 6'-4" HT: 25 NO. OF STUDS @ 7'-6" HT: 47 NO. OF STUDS @ 8'-0" HT: 4 NO. OF STUDS @ 8'-3" HT: 17 NO. OF STUDS @ 9'-0" HT: 58 | SF | 1597.0687 | 0.66 | 0.726 | 1159.4719 | 0.024 | 38.3296 | 2 CARP | 53.15 | 69.2013 | 1.6608 | 2652.4615 | 3811.9334
|  | NOTE: ALL STUDS TO BE DOUGLAS FIR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | BALLOON FRAMING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
40 |  | 2X4 WOOD STUDS @ 16" O.C. | SF | 324 | 0.66 | 0.726 | 235.224 | 0.024 | 7.776 | 2 CARP | 53.15 | 69.2013 | 1.6608 | 538.1093 | 773.3333
|  | NOTE: ALL STUDS TO BE DOUGLAS FIR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | TOP PLATES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
41 |  | 2X4 TOP WOOD PLATES | LF | 400 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | BOTTOM PLATES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
42 |  | 2X4 BOTTOM WOOD PLATES | LF | 200 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | STAIRS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | INTERIOR STAIRS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
43 | A100 - A201 | 4'-4'' W WOODEN STAIR RISER HEIGHT = 7-1/2'' | RISERS | 5 | 87 | 95.7 | 478.5 | 0.28887 | 1.4443 | 2 CARP | 53.15 | 69.2013 | 19.9899 | 99.9497 | 578.4497
44 |  | 4'-4'' W x 10"D WOODEN STAIR | TREADS | 5 | 130 | 143 | 715 | 0.4333 | 2.1665 | 2 CARP | 53.15 | 69.2013 | 29.9849 | 149.9246 | 864.9246
45 |  | 36"H 1-1/4'' DIA PAINTED STEEL GUARDRAIL | LF | 11.5 | 55 | 60.5 | 695.75 | 0.265 | 3.0475 | E-4 | 62.74 | 81.6875 | 21.6472 | 248.9426 | 944.6926
46 |  | 2x12 WOOD STRINGERS | LF | 8.5 | 2.088 | 2.2968 | 19.5228 | 0.057 | 0.4845 | C8 | 46.88 | 61.0378 | 3.4792 | 29.5728 | 49.0956
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | EXTERIOR STAIRS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
47 |  | 4'-6'' W COMPOSITE WOODEN STAIR RISER HEIGHT = 7-1/2'' | RISERS | 6 | 90 | 99 | 594 | 0.3 | 1.8 | 2 CARP | 53.15 | 69.2013 | 20.7604 | 124.5623 | 718.5623
48 |  | 5'-0'' W COMPOSITE WOODEN STAIR RISER HEIGHT = 7-1/2'' | RISERS | 5 | 100 | 110 | 550 | 0.33333 | 1.6667 | 2 CARP | 53.15 | 69.2013 | 23.0671 | 115.3355 | 665.3355
49 |  | 7'-0'' W COMPOSITE WOODEN STAIR RISER HEIGHT = 7-1/2'' | RISERS | 5 | 140 | 154 | 770 | 0.46667 | 2.3333 | 2 CARP | 53.15 | 69.2013 | 32.2939 | 161.4697 | 931.4697
50 |  | 4'-6'' W x 1'-0"D COMPOSITE WOODEN STAIR | TREADS | 5 | 135 | 148.5 | 742.5 | 0.45 | 2.25 | 2 CARP | 53.15 | 69.2013 | 31.1406 | 155.7029 | 898.2029
51 |  | 5'-0'' W x 1'-0"D COMPOSITE WOODEN STAIR | TREADS | 4 | 150 | 165 | 660 | 0.5 | 2 | 2 CARP | 53.15 | 69.2013 | 34.6006 | 138.4026 | 798.4026
52 |  | 7'-0'' W x 1'-0"D COMPOSITE WOODEN STAIR | TREADS | 4 | 210 | 231 | 924 | 0.7 | 2.8 | 2 CARP | 53.15 | 69.2013 | 48.4409 | 193.7636 | 1117.7636
53 |  | 36"H CABLE RAILING W/ - 3/4" SQUARE PICKET AT MIDSPAN BETWEEN POSTS - 2-3/8" SQUARE POST - SERIES 200 TOP RAIL, #8 x 3/4" SELF TAPPING | LF | 135 | 49.25 | 54.175 | 7313.625 | 0.64 | 86.4 | 2 SSWK | 57.65 | 75.0603 | 48.0386 | 6485.2099 | 13798.8349
54 |  | 2x12 WOOD STRINGERS | LF | 33.6 | 2.088 | 2.2968 | 77.1725 | 0.057 | 1.9152 | C8 | 46.88 | 61.0378 | 3.4792 | 116.8995 | 194.072
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | INTERIOR TRIM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
55 |  | INTERIOR TRIM AT DOORS | LF | 255 | 2.95 | 3.245 | 827.475 | 0.031985 | 8.1562 | 1 CARP | 53.15 | 69.2013 | 2.2134 | 564.417 | 1391.892
56 |  | INTERIOR TRIM AT WINDOWS | LF | 280 | 2.95 | 3.245 | 908.6 | 0.031985 | 8.9558 | 1 CARP | 53.15 | 69.2013 | 2.2134 | 619.752 | 1528.352
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SILL PLATE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
57 | A100 | 2x6 P.T SILL PLATE W/ 5/8" DIAx14" ANCHOR BOLTS @ 6'-0" O.C. | LF | 58.72 | 1.0224 | 1.1246 | 66.0389 | 0.028 | 1.6442 | C8 | 46.88 | 61.0378 | 1.7091 | 100.3558 | 166.3947
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | STUD & POST |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
58 | A100 - A102 | (2) 2x4 JACK STUD NO. OF STUS @ 2'-1" HT: 4 NO. OF STUS @ 6'-8" HT: 39 | LF | 268.45 | 1.632 | 1.7952 | 481.9214 | 0.052 | 13.9594 | C8 | 46.88 | 61.0378 | 3.174 | 852.0505 | 1333.9719
59 |  | (3) 2x4 JACK STUD NO. OF STUD @ 7'-0" HT: 4 NO. OF STUD @ 10'-9" HT: 4 | LF | 71 | 2.448 | 2.6928 | 191.1888 | 0.078 | 5.538 | C8 | 46.88 | 61.0378 | 4.7609 | 338.0271 | 529.2159
60 |  | (3) 2x6 JACK STUD NO. OF STUS @ 3'-6" HT: 2 NO. OF STUS @ 5'-0" HT: 1 NO. OF STUS @ 6'-8" HT: 1 | LF | 18.67 | 2.556 | 2.8116 | 52.4926 | 0.084 | 1.5683 | C8 | 46.88 | 61.0378 | 5.1272 | 95.7243 | 148.2169
61 |  | 4x6 JACK STUD NO. OF STUD@ 6'-8" HT: 4 | LF | 26.68 | 3.24 | 3.564 | 95.0875 | 0.051 | 1.3607 | C8 | 46.88 | 61.0378 | 3.1129 | 83.0529 | 178.1404
62 |  | 5-1/4" x 3-1/2" 1.8E PARALLAM PSL POST NO. OF POST @ 1'-0" HT: 2 NO. OF POST @ 6'-4" HT: 1 NO. OF POST @ 8'-1" HT: 1 | LF | 16.41 | 8.464 | 9.3104 | 152.7837 | 0.15 | 2.4615 | F6 | 48.9 | 63.6678 | 9.5502 | 156.7183 | 309.502
63 |  | 5-1/4" x 7" 1.8E PARALLAM PSL POST NO. OF POST @ 3'-6" HT: 1 NO. OF POST @ 8'-1" HT: 2 | LF | 19.66 | 11.464 | 12.6104 | 247.9205 | 0.15 | 2.949 | F6 | 48.9 | 63.6678 | 9.5502 | 187.7563 | 435.6768
64 |  | 6x6 P.T POST NO. OF POST @ 2'-6" HT: 8 NO. OF POST @ 3'-0" HT: 12 | LF | 56 | 9.14 | 10.054 | 563.024 | 0.145 | 8.12 | C8 | 46.88 | 61.0378 | 8.8505 | 495.6266 | 1058.6506
65 |  | 6x6 P.T PVC ENCASED POST NO. OF POST @ 7'-9" HT: 6 | LF | 46.5 | 9.14 | 10.054 | 467.511 | 0.145 | 6.7425 | C8 | 46.88 | 61.0378 | 8.8505 | 411.5471 | 879.0581
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | HEADER & BEAM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
66 | A100 - A102 | (2) 1-3/4" x 9-1/2" 2.0E MICROLAM HEADER | LF | 5.77 | 9.96 | 10.956 | 63.2161 | 0.3 | 1.731 | F6 | 48.9 | 63.6678 | 19.1003 | 110.209 | 173.4251
67 |  | (2) 1-3/4" x 11-1/4" 2.0E MICROLAM DROP BEAM | LF | 29.66 | 12.192 | 13.4112 | 397.7762 | 0.3 | 8.898 | F6 | 48.9 | 63.6678 | 19.1003 | 566.5161 | 964.2923
68 |  | (2) 2x8 BEAM | LF | 11.87 | 2.304 | 2.5344 | 30.0833 | 0.074 | 0.87838 | C8 | 46.88 | 61.0378 | 4.5168 | 53.6143 | 83.6977
69 |  | (2) 2x12 HEADER | LF | 74.13 | 4.176 | 4.5936 | 340.5236 | 0.114 | 8.4508 | C8 | 46.88 | 61.0378 | 6.9583 | 515.8191 | 856.3427
70 |  | (2) 2x12 P.T DROP WOOD BEAM | LF | 142.55 | 5.02 | 5.522 | 787.1611 | 0.114 | 16.2507 | C8 | 46.88 | 61.0378 | 6.9583 | 991.9063 | 1779.0674
71 |  | (3) 1-3/4" x 18" 2.0E MICROLLAM DROP BEAM | LF | 24.78 | 31.176 | 34.2936 | 849.7954 | 0.45 | 11.151 | F6 | 48.9 | 63.6678 | 28.6505 | 709.9596 | 1559.755
72 |  | (2) 1-3/4" x 11-7/8" 2.0E MICROLAM RIDGE BEAM W/ METAL RIDGE STRAP & HANGER | LF | 18.37 | 12.192 | 13.4112 | 246.3637 | 0.3 | 5.511 | F6 | 48.9 | 63.6678 | 19.1003 | 350.8732 | 597.237
73 |  | (2) 1-3/4" x 18" 2.0E MICROLAM RIDGE BEAM W/ METAL RIDGE STRAP & HANGER | LF | 38 | 20.784 | 22.8624 | 868.7712 | 0.3 | 11.4 | F6 | 48.9 | 63.6678 | 19.1003 | 725.8129 | 1594.5841
74 |  | (2) 1-3/4" x 20" 2.0E MICROLAM RIDGE BEAM W/ METAL RIDGE STRAP & HANGER | LF | 25.53 | 23.376 | 25.7136 | 656.4682 | 0.3 | 7.659 | F6 | 48.9 | 63.6678 | 19.1003 | 487.6317 | 1144.0999
75 |  | (2) 2x10 VALLEY BEAM | LF | 43.59 | 2.856 | 3.1416 | 136.9423 | 0.092 | 4.0103 | C8 | 46.88 | 61.0378 | 5.6155 | 244.7785 | 381.7209
76 |  | (2) 2x12 RIDGE BEAM W/ METAL RIDGE STRAP & HANGER | LF | 39.14 | 4.176 | 4.5936 | 179.7935 | 0.114 | 4.462 | C8 | 46.88 | 61.0378 | 6.9583 | 272.348 | 452.1415
77 |  | 2x10 VALLEY BEAM | LF | 51 | 1.428 | 1.5708 | 80.1108 | 0.046 | 2.346 | C8 | 46.88 | 61.0378 | 2.8077 | 143.1946 | 223.3054
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DECK |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
78 |  | OUTDOOR COMPOSITE DECK | SF | 673.36 | 8.95 | 9.845 | 6629.2292 | 0.077 | 51.8487 | 2 CARP | 53.15 | 69.2013 | 5.3285 | 3587.9988 | 10217.228
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SHEATHING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
79 | A100 - A102 | 1/2" CDX PLYWOOD SHEATHING AT GARAGE CEILING | SF | 591 | 1.824 | 2.0064 | 1185.7824 | 0.021 | 12.411 | C8 | 46.88 | 61.0378 | 1.2818 | 757.5396 | 1943.322
80 |  | 1/2" CDX PLYWOOD SHEATHING AT ROOF | SF | 2226.786 | 1.824 | 2.0064 | 4467.8234 | 0.021 | 46.7625 | C8 | 46.88 | 61.0378 | 1.2818 | 2854.2786 | 7322.102
81 |  | 1/2" CDX SHEATHING AT WALLS | SF | 1416 | 1.824 | 2.0064 | 2841.0624 | 0.019 | 26.904 | C8 | 46.88 | 61.0378 | 1.1597 | 1642.1599 | 4483.2223
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | COLLAR TIES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
82 | A102 | 2x4 COLLAR TIES @ 48" O.C. | LF | 80.25 | 0.816 | 0.8976 | 72.0324 | 0.026 | 2.0865 | C8 | 46.88 | 61.0378 | 1.587 | 127.3553 | 199.3877
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | LEDGER BOARD |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
83 | A100 - A102 | 2x12 P.T LEDGER BOARD | LF | 106.25 | 2.088 | 2.2968 | 244.035 | 0.057 | 6.0563 | C8 | 46.88 | 61.0378 | 3.4792 | 369.6599 | 613.6949
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | JOISTS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
84 | A100 - A102 | 2x8 ROOF JOISTS @ 16" O.C. | LF | 387.585 | 1.152 | 1.2672 | 491.1477 | 0.037 | 14.3406 | C8 | 46.88 | 61.0378 | 2.2584 | 875.3208 | 1366.4684
85 |  | 2x10 ROOF JOISTS @ 16" O.C. | LF | 1355.2474 | 1.428 | 1.5708 | 2128.8226 | 0.046 | 62.3414 | C8 | 46.88 | 61.0378 | 2.8077 | 3805.1781 | 5934.0007
86 |  | (2) 2x8 P.T DECK JOIST | LF | 46.77 | 2.304 | 2.5344 | 118.5339 | 0.074 | 3.461 | C8 | 46.88 | 61.0378 | 4.5168 | 211.2505 | 329.7844
87 |  | (2) 2x10 CEILING JOIST | LF | 23.58 | 2.856 | 3.1416 | 74.0789 | 0.092 | 2.1694 | C8 | 46.88 | 61.0378 | 5.6155 | 132.4129 | 206.4918
88 |  | 2x8 CEILING JOISTS @ 16" O.C. | LF | 242.0902 | 1.152 | 1.2672 | 306.7767 | 0.037 | 8.9573 | C8 | 46.88 | 61.0378 | 2.2584 | 546.7359 | 853.5126
89 |  | 2x8 P.T DECK JOISTS @ 16" O.C. | LF | 500.9624 | 1.38 | 1.518 | 760.4609 | 0.037 | 18.5356 | C8 | 46.88 | 61.0378 | 2.2584 | 1131.3721 | 1891.833
90 |  | 2x10 CEILING JOISTS @ 16" O.C. | LF | 444.2481 | 1.428 | 1.5708 | 697.8249 | 0.046 | 20.4354 | C8 | 46.88 | 61.0378 | 2.8077 | 1247.3319 | 1945.1568
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | RAFTER |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
91 | A102 | (2) 2x10 FLUSH RAFTER | LF | 51.54 | 2.856 | 3.1416 | 161.9181 | 0.13 | 6.7002 | C8 | 46.88 | 61.0378 | 7.9349 | 408.9652 | 570.8833
92 |  | (2) 1-3/4" x 9-1/2" 2.0E MICROLAM FLUSH RAFTER BEAM | LF | 17.34 | 9.96 | 10.956 | 189.977 | 0.3 | 5.202 | F6 | 48.9 | 63.6678 | 19.1003 | 331.1999 | 521.1769
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | HOLDOWN |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
93 | A100 | HD: HOLDOWN | EA | 8 | 24.8 | 27.28 | 218.24 | 0.30914 | 2.4731 | BC | 37.2 | 48.4344 | 14.973 | 119.784 | 338.024
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | FINISH CARPENTRY & MILLWORK, AS PER NOTES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| A101,A102 | BASE CABINET |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
94 |  | 2'-0"D BASE CABINET | LF | 15 | 325 | 357.5 | 5362.5 | 1.298 | 19.47 | 2 CARP | 53.15 | 69.2013 | 89.8233 | 1347.3493 | 6709.8493
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | UPPER CABINET |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
95 |  | 1'-0"D UPPER CABINET | LF | 15 | 166 | 182.6 | 2739 | 0.55 | 8.25 | 2 CARP | 53.15 | 69.2013 | 38.0607 | 570.9107 | 3309.9107
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | CLOSET |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
96 |  | 1'-0" D CLOSET W/ ROD AND SHELVES | LF | 23 | 185 | 203.5 | 4680.5 | 1.725 | 39.675 | 2 CARP | 53.15 | 69.2013 | 119.3722 | 2745.5616 | 7426.0616
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PANTRY CABINET |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
97 |  | 1'-3"W X 2'-6"DEEP 7'-0"HT PANTRY CABINET | EA | 1 | 440 | 484 | 484 | 3.978 | 3.978 | 1 CARP | 53.15 | 69.2013 | 275.2828 | 275.2828 | 759.2828
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 07 | THERMAL AND MOISTURE PROTECTION | SUBTOTAL MATERIAL |  |  | 64658.1072 | 0 |  | SUBTOTAL LABOR |  |  |  | 49425.443 | 0 | 114083.5502 | 161728.8155
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | ROOFING ASSEMBLY |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
98 | A102 | STANDING SEAM METAL ROOFING SYSTEM, DESIGN TO BE ATAS DUTCH SEAM MRD194 | SF | 2226.786 | 11.35 | 12.485 | 27801.4232 | 0.095 | 211.5447 | 1 SHEE | 62.3 | 81.1146 | 7.7059 | 17159.3613 | 44960.7845
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | UNDERLAYMENT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
99 |  | TAR PAPER UNDERLAYMENT | SF | 2227 | 0.102 | 0.1122 | 249.8694 | 0.00137 | 3.051 | 1 ROFC | 46.2 | 60.1524 | 0.082409 | 183.5244 | 433.3938
100 |  | PREFABRICATED EAVE BAFFLE ICE & WATER SHIELD | SF | 831 | 1.25 | 1.375 | 1142.625 | 0.024 | 19.944 | 1 CARP | 53.15 | 69.2013 | 1.6608 | 1380.1507 | 2522.7757
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | ROOF LINES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
101 |  | RIDGE LINE | LF | 121 | 6.25 | 6.875 | 831.875 | 0.068 | 8.228 | R1 | 35.8 | 46.6116 | 3.1696 | 383.5202 | 1215.3952
102 |  | VALLEY LINE | LF | 94.59 | 1.65 | 1.815 | 171.6808 | 0.035 | 3.3107 | R1 | 35.8 | 46.6116 | 1.6314 | 154.3147 | 325.9955
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SOFFIT & FASCIA |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
103 |  | VINYL VENTED PVC SOFFIT | SF | 253.467 | 7.22 | 7.942 | 2013.0349 | 0.055 | 13.9407 | 1 SHEE | 62.3 | 81.1146 | 4.4613 | 1130.7931 | 3143.828
104 |  | 1x2 OVER 1x8 FREE FOAM PVC FASCIA BOARD, AZEK OR EQUAL | LF | 277.467 | 4.27 | 4.697 | 1303.2625 | 0.038194 | 10.5975 | 1 CARP | 53.15 | 69.2013 | 2.6431 | 733.3619 | 2036.6244
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | GUTTER & DOWNSPOUT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
105 |  | PREFINISHED ALUMINUM GUTTER | LF | 208 | 2.46 | 2.706 | 562.848 | 0.097 | 20.176 | 1 SHEE | 62.3 | 81.1146 | 7.8681 | 1636.5682 | 2199.4162
106 |  | PREFINISHED ALUMINUM DOWNSPOUT | LF | 140 | 2.39 | 2.629 | 368.06 | 0.067 | 9.38 | 1 SHEE | 62.3 | 81.1146 | 5.4347 | 760.8549 | 1128.9149
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | FLASHING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
107 |  | DRIP EDGE FLASHING | LF | 277 | 1.02 | 1.122 | 310.794 | 0.091 | 25.207 | 1 ROFC | 46.2 | 60.1524 | 5.4739 | 1516.2615 | 1827.0555
108 |  | STEP FLASHING | LF | 154.204 | 1.45 | 1.595 | 245.9554 | 0.091 | 14.0326 | 1 ROFC | 46.2 | 60.1524 | 5.4739 | 844.0924 | 1090.0478
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SEALANT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
109 | A101,A102 | CONTINUOUS SEALANT AT WALLS | LF | 535 | 1.3 | 1.43 | 765.05 | 0.04 | 21.4 | 1 BRIC | 52.05 | 67.7691 | 2.7108 | 1450.2587 | 2215.3087
110 |  | CONTINUOUS SEALANT AT DOORS | LF | 412 | 0.43 | 0.473 | 194.876 | 0.029 | 11.948 | 1 BRIC | 52.05 | 67.7691 | 1.9653 | 809.7052 | 1004.5812
111 |  | CONTINUOUS SEALANT AT WINDOWS | LF | 562 | 0.43 | 0.473 | 265.826 | 0.029 | 16.298 | 1 BRIC | 52.05 | 67.7691 | 1.9653 | 1104.5008 | 1370.3268
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | EXTERIOR TRIM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
112 | A101,A102 | EXTERIOR TRIM AT DOORS | LF | 65 | 4.1 | 4.51 | 293.15 | 0.031985 | 2.079 | 1 CARP | 53.15 | 69.2013 | 2.2134 | 143.871 | 437.021
113 |  | EXTERIOR TRIM AT WINDOWS | LF | 281 | 4.1 | 4.51 | 1267.31 | 0.031985 | 8.9878 | 1 CARP | 53.15 | 69.2013 | 2.2134 | 621.9654 | 1889.2754
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DAMP-PROOFING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
114 | A100 | DAMP-PROOFING MEMBRANE AT CONCRETE WALLS | SF | 275.31 | 1.12 | 1.232 | 339.1819 | 0.024 | 6.6074 | 2 ROFC | 46.2 | 60.1524 | 1.4437 | 397.4534 | 736.6353
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PROTECTION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
115 | A100 | PROTECTIVE COVERING AT CONCRETE WALLS | SF | 84.81 | 6.25 | 6.875 | 583.0688 | 0.05 | 4.2405 | 1 CARP | 53.15 | 69.2013 | 3.4601 | 293.4481 | 876.5169
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | INSULATION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
116 | A100 - A102 | 2" XPS RIGID INSULATION(R-10) AT CONCRETE WALLS | SF | 275.31 | 1.36 | 1.496 | 411.8638 | 0.012 | 3.3037 | 1 ROFC | 46.2 | 60.1524 | 0.72183 | 198.7267 | 610.5904
117 |  | R-38C ECOTOUCH BATT INSULATION AT GARAGE CEILING | SF | 591 | 2.66 | 2.926 | 1729.266 | 0.011 | 6.501 | 1 CARP | 53.15 | 69.2013 | 0.76121 | 449.8777 | 2179.1437
118 |  | R-30C ECOTOUCH BATT INSULATION AT ROOF | SF | 1714.756 | 2.23 | 2.453 | 4206.2965 | 0.011 | 18.8623 | 1 CARP | 53.15 | 69.2013 | 0.76121 | 1305.2968 | 5511.5933
119 | A101,A102 | R-15 BATT INSULATION AT WALL | SF | 1416 | 1.15 | 1.265 | 1791.24 | 0.009 | 12.744 | 1 CARP | 53.15 | 69.2013 | 0.62281 | 881.9014 | 2673.1414
120 |  | R-5, 1"THK XPS RIGID INSULATION AT WALL | SF | 1416 | 0.7 | 0.77 | 1090.32 | 0.012 | 16.992 | 1 ROFC | 46.2 | 60.1524 | 0.72183 | 1022.1096 | 2112.4296
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | EXTERIOR FNISHES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| A102 |  |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SIDING / CLADING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
121 |  | 1 X2 BOARD & BATTEN CLADDING SLECTED BY OWNER W/ AIR MOISTURE RESISTANT BARRIER MFR: AZEK FINISH: SLECTED BY OWNER | SF | 2071 | 6.65 | 7.315 | 15149.365 | 0.096331 | 199.5018 | 1 CARP | 53.15 | 69.2013 | 6.6662 | 13805.783 | 28955.148
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | TRIM |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
122 |  | PVC "J" CHANNEL TRIM AT TERMINATIONS | LF | 365 | 2.88 | 3.168 | 1156.32 | 0.032 | 11.68 | 1 CARP | 53.15 | 69.2013 | 2.2144 | 808.2712 | 1964.5912
123 |  | CORNER TRIM | LF | 103 | 3.65 | 4.015 | 413.545 | 0.035 | 3.605 | 1 CARP | 53.15 | 69.2013 | 2.422 | 249.4707 | 663.0157
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 08 | OPENINGS | SUBTOTAL MATERIAL |  |  | 35580.6 | 0 |  | SUBTOTAL LABOR |  |  |  | 14001.9685 | 0 | 49582.5685 | 70166.3914
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DOORS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| A101,A102 | INTERIOR DOOR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
124 |  | 2'-0" X 6'-8"H X 1-3/4"THK WOOD SWING DOOR W/ WOOD FRAME MFR/MODEL: TRUSTILE TS SERIES TS5000 (5PANEL) | EA | 1 | 560 | 616 | 616 | 4.5996 | 4.5996 | 2 CARP | 53.15 | 69.2013 | 318.298 | 318.298 | 934.298
125 |  | 2'-6" X 6'-8"H X 1-3/4"THK WOOD SWING DOOR W/ WOOD FRAME | EA | 3 | 705 | 775.5 | 2326.5 | 5.7495 | 17.2485 | 2 CARP | 53.15 | 69.2013 | 397.8724 | 1193.6173 | 3520.1173
126 |  | 2'-0" X 2'-0"H X 1-3/8"THK DOOR W/ FRAME THRU-WALL ACCESS HATCH TO ATTIC MFR/MODEL: TRUSTILE TS SERIES TS5000 (5PANEL) | EA | 1 | 210 | 231 | 231 | 1.3798 | 1.3798 | 2 CARP | 53.15 | 69.2013 | 95.4846 | 95.4846 | 326.4846
127 |  | F: 3'-0" X 6'-8"H X 1-3/4"THK MDF/WOOD DOOR W/ WOOD FRAME, 20-MINUTE FIRE-RATED W/ SELF CLOSING EQUIPMENT MFR/MODEL: TRUSTILE T5 SERIES TS500 (5PANEL) IN MDF | EA | 1 | 845 | 929.5 | 929.5 | 6.8994 | 6.8994 | 2 CARP | 53.15 | 69.2013 | 477.4469 | 477.4469 | 1406.9469
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | EXTERIOR DOOR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
128 |  | E: 2'-8" X 6'-8"H X 1-3/4"THK WOOD GLASS SWING DOOR W/ WOOD FRAME MFR/MODEL: ANDERSEN INSWING RESIDENTIAL ENTRY DOORS | EA | 1 | 2095 | 2304.5 | 2304.5 | 6.9295 | 6.9295 | 2 CARP | 53.15 | 69.2013 | 479.5281 | 479.5281 | 2784.0281
129 |  | E: 3'-0" X 6'-8"H X 1-3/4"THK WOOD GLASS SWING DOOR W/ WOOD FRAME MFR/MODEL: ANDERSEN INSWING RESIDENTIAL ENTRY DOORS | EA | 3 | 2360 | 2596 | 7788 | 7.7947 | 23.384 | 2 CARP | 53.15 | 69.2013 | 539.4017 | 1618.205 | 9406.205
|  | NOTE: STYLE AS SPECIFIED BY OWNER |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | GARAGE DOOR |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
130 |  | 9'-0" X 7'-0"H GARAGE DOOR W/ FRAME MFR: AMARR HILLCREST OR EQUAL | EA | 2 | 2080 | 2288 | 4576 | 19.3515 | 38.703 | 2 SSWK | 57.65 | 75.0603 | 1452.5294 | 2905.0588 | 7481.0588
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | HARDWARE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
131 | A101,A102 | ALLOWANCE PROVIDED FOR INTERIOR DOORS HARDWARE | EA | 6 | 340 | 374 | 2244 | 1.85 | 11.1 | 2 CARP | 53.15 | 69.2013 | 128.0224 | 768.1344 | 3012.1344
132 |  | ALLOWANCE PROVIDED FOR EXTERIOR DOORS HARDWARE | EA | 4 | 410 | 451 | 1804 | 1.98 | 7.92 | 2 CARP | 53.15 | 69.2013 | 137.0186 | 548.0743 | 2352.0743
133 |  | ALLOWANCE PROVIDED FOR GARAGE DOORS HARDWARE | EA | 2 | 450 | 495 | 990 | 2.25 | 4.5 | 2 CARP | 53.15 | 69.2013 | 155.7029 | 311.4058 | 1301.4059
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | ACCESS OPENINGS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
134 | A102 | 5'-6" X 2'-1" ATTIC HATCH W/ 12'-0" ALUMINUM DROP DOWN ATTIC LADDER | EA | 1 | 2055 | 2260.5 | 2260.5 | 8.446 | 8.446 | G-3 | 52.2 | 67.9644 | 574.0273 | 574.0273 | 2834.5273
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | WINDOWS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
135 | A101,A102 | C: 3'-0"W X 5'-0"H CASEMENT WINDOW, LOW - E4 GLAZING MFR/MODEL: ANDERSEN 400 SERIES | EA | 2 | 636 | 699.6 | 1399.2 | 5.4737 | 10.9475 | 2 SSWK | 57.65 | 75.0603 | 410.8613 | 821.7226 | 2220.9226
136 |  | P: 2'-0"W X 2'-0"H FIXED PICTURE WINDOW, LOW - E4 GLAZING MFR/MODEL: ANDERSEN 400 SERIES | EA | 1 | 126 | 138.6 | 138.6 | 0.46589 | 0.46589 | 2 CARP | 53.15 | 69.2013 | 32.24 | 32.24 | 170.84
137 |  | P: 2'-6"W X 5'-0"H FIXED PICTURE WINDOW, LOW - E4 GLAZING MFR/MODEL: ANDERSEN 400 SERIES | EA | 4 | 384 | 422.4 | 1689.6 | 1.4559 | 5.8236 | 2 CARP | 53.15 | 69.2013 | 100.7502 | 403.0006 | 2092.6006
138 |  | P: 3'-0" X 5'-0"H FIXED PICTURE WINDOW, LOW - E4 GLAZING MFR/MODEL: ANDERSEN 400 SERIES | EA | 1 | 456 | 501.6 | 501.6 | 1.7471 | 1.7471 | 2 CARP | 53.15 | 69.2013 | 120.9002 | 120.9002 | 622.5002
139 |  | TW: 2'-0"W X 3'-0"H DOUBLE HUNG WINDOW, LOW - E4 GLAZING MFR: /MODEL: ANDERSEN 400 SERIES TILT WASH | EA | 2 | 294 | 323.4 | 646.8 | 2.1895 | 4.379 | 2 SSWK | 57.65 | 75.0603 | 164.3445 | 328.6891 | 975.4891
140 |  | TW: 2'-6"W X 3'-0"H DOUBLE HUNG WINDOW, LOW - E4 GLAZING MFR: /MODEL: ANDERSEN 400 SERIES TILT WASH | EA | 6 | 318 | 349.8 | 2098.8 | 2.7369 | 16.4212 | 2 SSWK | 57.65 | 75.0603 | 205.4307 | 1232.584 | 3331.384
141 |  | TW: 2'-6"W X 4'-0"H DOUBLE HUNG WINDOW, LOW - E4 GLAZING MFR: /MODEL: ANDERSEN 400 SERIES TILT WASH | EA | 1 | 426 | 468.6 | 468.6 | 3.6492 | 3.6492 | 2 SSWK | 57.65 | 75.0603 | 273.9075 | 273.9075 | 742.5075
142 |  | TW: 3'-0" X 3'-0"H DOUBLE HUNG WINDOW, LOW - E4 GLAZING MFR: /MODEL: ANDERSEN 400 SERIES TILT WASH | EA | 4 | 384 | 422.4 | 1689.6 | 3.2842 | 13.137 | 2 SSWK | 57.65 | 75.0603 | 246.5168 | 986.0672 | 2675.6672
143 |  | TW: 5'-0"W X 3'-9"H DOUBLE HUNG WINDOW, LOW - E4 GLAZING MFR: /MODEL: ANDERSEN 400 SERIES TILT WASH | EA | 1 | 798 | 877.8 | 877.8 | 6.8422 | 6.8422 | 2 SSWK | 57.65 | 75.0603 | 513.5766 | 513.5766 | 1391.3766
|  | NOTE: 1- ALL WINDOW ASSEMBLIES TO BE FACTORY MULLED 2- ALL OPERABLE WINDOWS TO HAVE INSECT SCREEN INCLUDED |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 09 | FINISHES | SUBTOTAL MATERIAL |  |  | 15258.761 | 0 |  | SUBTOTAL LABOR |  |  |  | 30515.244 | 0 | 45774.005 | 65067.3694
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | FLOORING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
144 | A101, A102 | CARPET FLOORING | SF | 683.69 | 3.99 | 4.389 | 3000.7154 | 0.026 | 17.7759 | TILF | 49.5 | 64.449 | 1.6757 | 1145.6416 | 4146.357
145 |  | SEALED CONCRETE FLOORING | SF | 545.95 | 3.54 | 3.894 | 2125.9293 | 0.107 | 58.4167 | C6 | 44.86 | 58.4077 | 6.2496 | 3411.9833 | 5537.9126
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | BASE |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
146 |  | 4"H WOOD BASE | LF | 230.75 | 2.86 | 3.146 | 725.9395 | 0.037172 | 8.5774 | 1 TILF | 49.5 | 64.449 | 2.3957 | 552.8032 | 1278.7427
147 |  | 4"H RUBBER BASE | LF | 70 | 2.86 | 3.146 | 220.22 | 0.037172 | 2.602 | 1 TILF | 49.5 | 64.449 | 2.3957 | 167.6976 | 387.9176
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | GYPSUM BOARD |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | WALLS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
148 | A101,A102 | 1/2" THK. MOISTER BOARD TYPE" X " GYPSUM BOARD AT WALLS | SF | 693 | 1.12 | 1.232 | 853.776 | 0.037 | 25.641 | 2 CARP | 53.15 | 69.2013 | 2.5604 | 1774.3905 | 2628.1665
149 |  | NO. OF SHEETS | EA | 21.6562 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
150 |  | ADHESIVE | TUBES | 21.483 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
151 |  | TAPING | ROLLS | 0.51975 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
152 |  | DRYWALL SCREWS | LBS | 3.7125 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
153 |  | MUD PLASTER | LBS | 367.29 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
154 |  | (1) LAYER 5/8" TYPE "X" GYPSUM BOARD AT EXISTING WALL | SF | 250 | 1.22 | 1.342 | 335.5 | 0.037 | 9.25 | 2 CARP | 53.15 | 69.2013 | 2.5604 | 640.112 | 975.612
155 |  | NO. OF SHEETS | EA | 7.8125 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
156 |  | ADHESIVE | TUBES | 7.75 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
157 |  | TAPING | ROLLS | 0.1875 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
158 |  | DRYWALL SCREWS | LBS | 1.3393 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
159 |  | MUD PLASTER | LBS | 132.5 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
160 |  | 1/2" THK. MOISTURE BOARD AT WALLS | SF | 1733 | 1.15 | 1.265 | 2192.245 | 0.037 | 64.121 | 2 CARP | 53.15 | 69.2013 | 2.5604 | 4437.2566 | 6629.5016
161 |  | NO. OF SHEETS | EA | 54.1562 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
162 |  | ADHESIVE | TUBES | 53.723 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
163 |  | TAPING | ROLLS | 1.2997 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
164 |  | DRYWALL SCREWS | LBS | 9.2839 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
165 |  | MUD PLASTER | LBS | 918.49 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | CEILING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
166 |  | 1/2" THK. MOISTURE RESISTANT GYPSUM BOARD AT CEILING | SF | 135 | 2.1 | 2.31 | 311.85 | 0.065 | 8.775 | 2 CARP | 53.15 | 69.2013 | 4.4981 | 607.2414 | 919.0914
167 |  | NO. OF SHEETS | EA | 4.2188 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
168 |  | ADHESIVE | TUBES | 4.185 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
169 |  | TAPING | ROLLS | 0.10125 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
170 |  | DRYWALL SCREWS | LBS | 0.72321 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
171 |  | MUD PLASTER | LBS | 71.55 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
172 |  | 1/2" THK. MOISTURE RESISTANT GYPSUM BOARD TYPE"X" AT CEILING | SF | 885 | 2.1 | 2.31 | 2044.35 | 0.065 | 57.525 | 2 CARP | 53.15 | 69.2013 | 4.4981 | 3980.8048 | 6025.1548
173 |  | NO. OF SHEETS | EA | 27.6562 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
174 |  | ADHESIVE | TUBES | 27.435 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
175 |  | TAPING | ROLLS | 0.66375 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
176 |  | DRYWALL SCREWS | LBS | 4.7411 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
177 |  | MUD PLASTER | LBS | 469.05 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
178 |  | 1/2" THK. MOISTURE RESISTANT GYPSUM BOARD AT VAULTED CEILING | SF | 698.75 | 2.1 | 2.31 | 1614.1125 | 0.065 | 45.4188 | 2 CARP | 53.15 | 69.2013 | 4.4981 | 3143.0365 | 4757.149
179 |  | NO. OF SHEETS | EA | 21.8359 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
180 |  | ADHESIVE | TUBES | 21.6613 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
181 |  | TAPING | ROLLS | 0.52406 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
182 |  | DRYWALL SCREWS | LBS | 3.7433 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
183 |  | MUD PLASTER | LBS | 370.3375 |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PAINT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
184 | A101,A102 | PAINT AT EXISTING WALLS ONE COAT OF PRIMER WITH TWO COATS OF PAINT AT WALLS NOTE: ALL EXISTING WALLS TO BE SCAR-PATCHED & PREPARED TO RECEIVE NEW FINISHES | SF | 2964.05 | 0.23 | 0.253 | 749.9047 | 0.024 | 71.1372 | 1 PORD | 44.4 | 57.8088 | 1.3874 | 4112.3562 | 4862.2608
185 |  | PAINT AT NEWWALLS ONE COAT OF PRIMER WITH TWO COATS OF PAINT AT WALLS | SF | 2566.4493 | 0.23 | 0.253 | 649.3117 | 0.024 | 61.5948 | 1 PORD | 44.4 | 57.8088 | 1.3874 | 3560.7205 | 4210.0322
186 |  | ONE COAT OF PRIMER WITH TWO COATS OF PAINT AT CEILNG | SF | 1719 | 0.23 | 0.253 | 434.907 | 0.03 | 51.57 | 1 PORD | 44.4 | 57.8088 | 1.7343 | 2981.1998 | 3416.1068
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 12 | FURNISHINGS | SUBTOTAL MATERIAL |  |  | 12667.6 | 0 |  | SUBTOTAL LABOR |  |  |  | 1839.9934 | 0 | 14507.5934 | 20493.0163
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | COUNTERTOP |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
187 | A101 | SOLID SURFACE COUNTERTOP AT KITCHEN, AS PER NOTES | SF | 32 | 44 | 48.4 | 1548.8 | 0.287 | 9.184 | 2 CARP | 53.15 | 69.2013 | 19.8608 | 635.5447 | 2184.3447
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | BACKSPLASH |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
188 | A101 | 4"H BACKSPLASH AT KITCHEN, AS PER NOTES | LF | 19 | 12 | 13.2 | 250.8 | 0.095 | 1.805 | 2 CARP | 53.15 | 69.2013 | 6.5741 | 124.9083 | 375.7083
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | KITCHEN ISLAND |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
189 | A101 | 8'-0" x 6'-6" KITCHEN ISLAND, AS PER NOTES | EA | 1 | 9880 | 10868 | 10868 | 15.6 | 15.6 | 2 CARP | 53.15 | 69.2013 | 1079.5403 | 1079.5403 | 11947.5403
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 22 | PLUMBING | SUBTOTAL MATERIAL |  |  | 4213 | 0 |  | SUBTOTAL LABOR |  |  |  | 2279.802 | 0 | 6492.802 | 9195.6128
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PLUMBING FIXTURES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
190 | A101,A102 | WATER CLOSET | EA | 2 | 460 | 506 | 1012 | 4.5172 | 9.0345 | Q-1 | 58 | 75.516 | 341.124 | 682.248 | 1694.248
191 |  | LAVATORY COUNTER MOUNTED | EA | 1 | 360 | 396 | 396 | 5.4655 | 5.4655 | Q-1 | 58 | 75.516 | 412.734 | 412.734 | 808.734
192 |  | LAVATORY WALL MOUNTED | EA | 1 | 360 | 396 | 396 | 5.4655 | 5.4655 | Q-1 | 58 | 75.516 | 412.734 | 412.734 | 808.734
193 |  | 5'-0" X 2'-6" BATH TUB | EA | 1 | 1850 | 2035 | 2035 | 5.9483 | 5.9483 | Q-1 | 58 | 75.516 | 449.19 | 449.19 | 2484.19
194 |  | KITCHEN SINK | EA | 1 | 340 | 374 | 374 | 4.2759 | 4.2759 | Q-1 | 58 | 75.516 | 322.896 | 322.896 | 696.896
|  | NOTE: PLUMBING FIXTURE SHALL BE SLECTRED BY OWNER, AS PER NOTES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 23 | HEATING, VENTILATION AND AIR CONDITIONING (HVAC) | SUBTOTAL MATERIAL |  |  | 7150 | 0 |  | SUBTOTAL LABOR |  |  |  | 8603.616 | 0 | 15753.616 | 22362.2634
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | HVAC |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
195 | A101,A102 | ALLOWANCE PROVIDE FOR HVAC AS REQUIRED AREA: 2438 SF | LS | 1 | 6500 | 7150 | 7150 | 112 | 112 | Q-5 | 59 | 76.818 | 8603.616 | 8603.616 | 15753.616
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 26 | ELECTRICAL | SUBTOTAL MATERIAL |  |  | 26145.295 | 0 |  | SUBTOTAL LABOR |  |  |  | 14370.0192 | 0 | 40515.3142 | 57383.3285
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | LIGHTING FIXTURES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
196 | A110 | 4" FIXED LED DOWNLIGHT | EA | 40 | 170 | 187 | 7480 | 1 | 40 | 1 ELEC | 61.3 | 79.8126 | 79.8126 | 3192.504 | 10672.504
197 |  | PENDANT (TO BE SELECTED BY OWNER) | EA | 3 | 245 | 269.5 | 808.5 | 1.125 | 3.375 | 1 ELEC | 61.3 | 79.8126 | 89.7892 | 269.3675 | 1077.8675
198 |  | LED FIXTURE WALL SCONE/VANITY LIGHT | EA | 1 | 235 | 258.5 | 258.5 | 1 | 1 | 1 ELEC | 61.3 | 79.8126 | 79.8126 | 79.8126 | 338.3126
199 |  | LED FIXTURE WALL SCONE EXTERIOR | EA | 7 | 255 | 280.5 | 1963.5 | 1 | 7 | 1 ELEC | 61.3 | 79.8126 | 79.8126 | 558.6882 | 2522.1882
200 |  | COMBINATION LIGHT / EXHAUST FAN (FIXTURE TO BE SELECTED BY OWNER) | EA | 1 | 200 | 220 | 220 | 1.25 | 1.25 | 1 ELEC | 61.3 | 79.8126 | 99.7657 | 99.7657 | 319.7658
|  | NOTE: 1-ALL FIXTURES TO BE DIMMABLE 2-COORDINATE FINAL LIGHT FIXTURE SELECTED BY OWNER/INTERIOR DECORATOR. |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | RECEPTACLE OUTLETS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
201 | A110 | DUPLEX RECEPTACLE | EA | 26 | 99 | 108.9 | 2831.4 | 0.597 | 15.522 | 1 ELEC | 61.3 | 79.8126 | 47.6481 | 1238.8512 | 4070.2512
202 |  | QUAD RECEPTACLE | EA | 3 | 145 | 159.5 | 478.5 | 0.597 | 1.791 | 1 ELEC | 61.3 | 79.8126 | 47.6481 | 142.9444 | 621.4444
203 |  | WR: TAMPER/WEATHER RESISTANT GFI RECEPTACLE W/ COVER | EA | 5 | 122 | 134.2 | 671 | 0.599 | 2.995 | 1 ELEC | 61.3 | 79.8126 | 47.8077 | 239.0387 | 910.0387
204 |  | TV: CABLE HOOK-UP | EA | 1 | 126 | 138.6 | 138.6 | 1.333 | 1.333 | 1 ELEC | 61.3 | 79.8126 | 106.3902 | 106.3902 | 244.9902
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SWITCHES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
205 | A110 | SINGLE POLE SWITCH WALL MOUNTED | EA | 8 | 15.55 | 17.105 | 136.84 | 0.465 | 3.72 | 1 ELEC | 61.3 | 79.8126 | 37.1129 | 296.9029 | 433.7429
206 |  | SINGLE POLE SWITCH CEILING MOUNTED | EA | 1 | 15.55 | 17.105 | 17.105 | 0.495 | 0.495 | 1 ELEC | 61.3 | 79.8126 | 39.5072 | 39.5072 | 56.6122
207 |  | 3-WAY SWITCH | EA | 11 | 24.5 | 26.95 | 296.45 | 0.653 | 7.183 | 1 ELEC | 61.3 | 79.8126 | 52.1176 | 573.2939 | 869.7439
208 |  | 3-WAY GARAGE DOOR SWITCH | EA | 2 | 24.5 | 26.95 | 53.9 | 0.653 | 1.306 | 1 ELEC | 61.3 | 79.8126 | 52.1176 | 104.2353 | 158.1353
209 |  | CEILING MOUNTED GARAGE DOOR OPENER AND RAILINGS | EA | 2 | 675 | 742.5 | 1485 | 2.125 | 4.25 | 1 ELEC | 61.3 | 79.8126 | 169.6018 | 339.2036 | 1824.2036
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PANEL BOARD |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
210 | A110 | GARAGE SUB PANEL | EA | 1 | 950 | 1045 | 1045 | 8.265 | 8.265 | 1 ELEC | 61.3 | 79.8126 | 659.6511 | 659.6511 | 1704.6511
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | DETECTORS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
211 | A110 | S/CO: COMBINATION SMOKE/CO DETECTOR | EA | 7 | 120 | 132 | 924 | 1.289 | 9.023 | 1 ELEC | 61.3 | 79.8126 | 102.8784 | 720.1491 | 1644.1491
212 |  | H: HEAT DETECTOR RATED FOR AMBIENT OUTDOOR TEMPERATURES | EA | 1 | 120 | 132 | 132 | 1.289 | 1.289 | 1 ELEC | 61.3 | 79.8126 | 102.8784 | 102.8784 | 234.8784
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | WIRING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
213 | A110 | ALLOWANCE PROVIDED FOR ELECTRICAL WIRING AREA: 2438 SF | LS | 1 | 6550 | 7205 | 7205 | 70.25 | 70.25 | 2 ELEC | 61.3 | 79.8126 | 5606.8351 | 5606.8351 | 12811.8352
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 31 | EARTHWORK | SUBTOTAL MATERIAL |  |  | 0 | 0 |  | SUBTOTAL LABOR |  |  |  | 11069.219 | 0 | 11069.219 | 15795.7755
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | EXCAVATION |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
214 |  | EXCAVATION PROVIDED FOR FOOTING | CY | 61.84 |  | 0 | 0 | 2.28 | 140.9952 | 1 CLAB | 42.1 | 54.8142 | 124.9764 | 7728.5391 | 7728.5391
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | BACKFILL |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
215 |  | BACKFILL PROVIDED FOR FOOTING | CY | 47.64 |  | 0 | 0 | 1.093 | 52.0705 | 1 CLAB | 42.1 | 54.8142 | 59.9119 | 2854.2039 | 2854.2039
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | HAULOFF/IMPORT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
216 |  | HAULING OFF EXTRA MATERIAL | CY | 14.2 |  | 0 | 0 | 0.625 | 8.875 | 1 CLAB | 42.1 | 54.8142 | 34.2589 | 486.476 | 486.476
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| DIV. 32 | EXTERIOR IMPROVEMENTS | SUBTOTAL MATERIAL |  |  | 30236.7267 | 0 |  | SUBTOTAL LABOR |  |  |  | 24768.9962 | 0 | 55005.7229 | 77993.5349
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | PAVEMENT |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
217 | A030 | ASPHALT PAVEMENT, ASSUMED 2" HMA (HOT MIX ASPHALT) PAVEMENT -4" THK. CSTC (CRUSHED SURFACE TOP COURSE) -6" CSBC (CRUSHED SURFACE BASE COURSE) AND COMPACTED SUBGRADE. | SF | 3853 | 3.8333 | 4.2167 | 16246.8167 | 0.024 | 92.472 | B-45 | 104.31 | 135.8116 | 3.2595 | 12558.7721 | 28805.5888
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | CURB |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
218 | A030 | 6''THK X 6''D W/ 6'' EMBEDMENT, PROPOSED CONCRETE CURB W/ #4 CONT BARS AND #4 BARS AT 18'' O.C., ASSUMED | LF | 419 | 6.65 | 7.315 | 3064.985 | 0.095 | 39.805 | C-2A | 51.64 | 67.2353 | 6.3874 | 2676.3003 | 5741.2853
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | LANDSCAPING |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | TREES |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
219 |  | NEW TREES, NO DETAIL GIVEN | EA | 10 | 240 | 264 | 2640 | 3.65 | 36.5 | B-17 | 66.59 | 86.7002 | 316.4557 | 3164.5566 | 5804.5566
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SHRUBS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
220 | A030 | NEW SHRUBS, NO DETAIL GIVEN | EA | 8 | 45 | 49.5 | 396 | 0.5 | 4 | B-1 | 42.77 | 55.6865 | 27.8433 | 222.7462 | 618.7462
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | LANDSCAPING MATERIALS |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
221 |  | 2" MULCHING, ASSUMED | SF | 1421 | 1.25 | 1.375 | 1953.875 | 0.015 | 21.315 | 1 CLAB | 42.1 | 54.8142 | 0.82221 | 1168.3647 | 3122.2397
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
|  | BARRIER |  |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
222 | A030 | EVERGREEN NOISE BARRIER, ASSUMED HT: 5'-0" | SF | 654 | 8.25 | 9.075 | 5935.05 | 0.112 | 73.248 | G-3 | 52.2 | 67.9644 | 7.612 | 4978.2564 | 10913.3064
[6 empty] | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0